## ModbusDevices
device_id | device_name | ip_address | port | unit_id | connection_type | serial_port | baud_rate | description
MB1 | PR1 | 127.0.0.1 | 502 | 1 | tcp |  |  | Protection Relay 1
MB2 | WE1 | 127.0.0.6 | 502 | 1 | tcp |  |  | Weather

## IEC104Devices
device_id | device_name | ip_address | port | description | t1 | t2 | t3 | k | w | gi_interval
IEC1 | IEC104_Device_1 | 127.0.0.2 | 2405 | Inverter @ Logger | 15 | 10 | 20 | 12 | 8 | 60

## Tags
tag_id | tag_name | protocol_type | modbus_device_id | register_type | modbus_address | register_count | data_type | page | description | actual_tag_id | iec104_device_id | iec104_asdu_address | iec104_ioa | iec104_type_id | equation | calc
T001 | EM001_ActivePower | modbus | MB1 | 4x | 1 | 1 | int |  | EM001_ActivePower | 1 |  |  |  |  | (x*10)
T002 | EM001_ApparentPower | modbus | MB1 | 4x | 2 | 1 | int |  | EM001_ApparentPower | 2
T003 | EM001_Frequency | modbus | MB1 | 4x | 3 | 1 | int |  | EM001_Frequency | 3 |  |  |  |  | (x*10)
T004 | INV003_GridConnectionDeratingInverterInternalCauses | IEC104 |  |  |  |  | Bool |  | INV003_GridConnectionDeratingInverterInternalCauses | 363
T005 | INV003_GridConnectionDeratingPowerRationing | IEC104 |  |  |  |  | Bool |  | INV003_GridConnectionDeratingPowerRationing | 364
T006 | INV003_GridLoss | IEC104 |  |  |  |  | Bool |  | INV003_GridLoss | 365
T007 | INV003_GridOverfrequency | IEC104 |  |  |  |  | Bool |  | INV003_GridOverfrequency | 366
T008 | INV003_GridOvervoltage | IEC104 |  |  |  |  | Bool |  | INV003_GridOvervoltage | 367
T009 | INV003_GridTiedOffGridControllerAbnormal | IEC104 |  |  |  |  | Bool |  | INV003_GridTiedOffGridControllerAbnormal | 368
T010 | INV003_GridUnderfrequency | IEC104 |  |  |  |  | Bool |  | INV003_GridUnderfrequency | 369
T011 | INV003_GridUndervoltage | IEC104 |  |  |  |  | Bool |  | INV003_GridUndervoltage | 370
T012 | INV003_GridVoltageImbalance | IEC104 |  |  |  |  | Bool |  | INV003_GridVoltageImbalance | 371
T013 | INV003_GroundFault | IEC104 |  |  |  |  | Bool |  | INV003_GroundFault | 372
T014 | INV003_HighInputStringVoltageGround | IEC104 |  |  |  |  | Bool |  | INV003_HighInputStringVoltageGround | 373
T015 | INV003_HighStringInputVoltage | IEC104 |  |  |  |  | Bool |  | INV003_HighStringInputVoltage | 374
T016 | INV003_InverterEfficiency | IEC104 |  |  |  |  | int |  | INV003_InverterEfficiency | 375
T017 | INV003_InverterGridConnectionStatus | IEC104 |  |  |  |  | Bool |  | INV003_InverterGridConnectionStatus | 376
T018 | INV003_InverterOverTemperature | IEC104 |  |  |  |  | Bool |  | INV003_InverterOverTemperature | 377
T019 | INV003_InverterRunningStopped | IEC104 |  |  |  |  | int |  | INV003_InverterRunningStopped | 378
T020 | INV003_InverterStartupShutdownStatus | IEC104 |  |  |  |  | Bool |  | INV003_InverterStartupShutdownStatus | 379
T021 | INV003_InverterTripHistoryAvailable | IEC104 |  |  |  |  | Bool |  | INV003_InverterTripHistoryAvailable | 380
T022 | INV003_IslandingDetectionStatus | IEC104 |  |  |  |  | Bool |  | INV003_IslandingDetectionStatus | 381
T023 | INV003_LicenseExpired | IEC104 |  |  |  |  | Bool |  | INV003_LicenseExpired | 382
T024 | INV003_LockingStatus | IEC104 |  |  |  |  | Bool |  | INV003_LockingStatus | 383
T025 | INV003_LowInsulationResistance | IEC104 |  |  |  |  | Bool |  | INV003_LowInsulationResistance | 384
T026 | INV003_NormalGridConnection | IEC104 |  |  |  |  | Bool |  | INV003_NormalGridConnection | 385
T027 | INV003_NormalShutdown | IEC104 |  |  |  |  | Bool |  | INV003_NormalShutdown | 386
T028 | INV003_OffGridOutputOverload | IEC104 |  |  |  |  | Bool |  | INV003_OffGridOutputOverload | 387
T029 | INV003_OptimizerFault | IEC104 |  |  |  |  | Bool |  | INV003_OptimizerFault | 388
T030 | INV003_OutputDCComponentOverhigh | IEC104 |  |  |  |  | Bool |  | INV003_OutputDCComponentOverhigh | 389
T031 | INV003_OutputOvercurrent | IEC104 |  |  |  |  | Bool |  | INV003_OutputOvercurrent | 390
T032 | INV003_PVStringLoss | IEC104 |  |  |  |  | Bool |  | INV003_PVStringLoss | 391
T033 | INV003_PassiveIslanding | IEC104 |  |  |  |  | Bool |  | INV003_PassiveIslanding | 392
T034 | INV003_PeripheralPortShortCircuit | IEC104 |  |  |  |  | Bool |  | INV003_PeripheralPortShortCircuit | 393
T035 | INV003_PhaseWireShortCircuitedPE | IEC104 |  |  |  |  | Bool |  | INV003_PhaseWireShortCircuitedPE | 394
T036 | INV003_PowerCurtailmentStatus | IEC104 |  |  |  |  | Bool |  | INV003_PowerCurtailmentStatus | 395
T037 | INV003_PowerFactor | IEC104 |  |  |  |  | int |  | INV003_PowerFactor | 396
T038 | Voltage_K01 | modbus | MB1 | 4x | 100 | 1 | int |  | Voltage_K01 | [5 empty] | (x*10)
T039 | Voltage_K02 | modbus | MB1 | 4x | 101 | 1 | int |  | Voltage_K02
T040 | Voltage_K03 | modbus | MB1 | 4x | 102 | 1 | int |  | Voltage_K03 | [5 empty] | (x*10)
T041 | Voltage_K04 | modbus | MB1 | 4x | 103 | 1 | int |  | Voltage_K04 | [5 empty] | (x*10)
T042 | Voltage_K05 | modbus | MB1 | 4x | 104 | 1 | int |  | Voltage_K05 | [5 empty] | (x*10)
T043 | Voltage_K06 | modbus | MB1 | 4x | 105 | 1 | int |  | Voltage_K06 | [5 empty] | (x*10)
T044 | Voltage_K07 | modbus | MB1 | 4x | 106 | 1 | int |  | Voltage_K07 | [5 empty] | (x*10)
T045 | Voltage_K08 | modbus | MB1 | 4x | 107 | 1 | int |  | Voltage_K08 | [5 empty] | (x*10)
T046 | Voltage_K09 | modbus | MB1 | 4x | 108 | 1 | int |  | Voltage_K09 | [5 empty] | (x*10)
T047 | Voltage_K10 | modbus | MB1 | 4x | 109 | 1 | int |  | Voltage_K10 | [5 empty] | (x*10)
T048 | Voltage_K11 | modbus | MB1 | 4x | 110 | 1 | int |  | Voltage_K11 | [5 empty] | (x*10)
T049 | Voltage_K12 | modbus | MB1 | 4x | 111 | 1 | int |  | Voltage_K12 | [5 empty] | (x*10)
T050 | Voltage_K13 | modbus | MB1 | 4x | 112 | 1 | int |  | Voltage_K13 | [5 empty] | (x*10)
T051 | Voltage_K14 | modbus | MB1 | 4x | 113 | 1 | int |  | Voltage_K14 | [5 empty] | (x*10)
T052 | Current_K01 | modbus | MB1 | 4x | 114 | 1 | int |  | Current_K01 | [5 empty] | (x*10)
T053 | Current_K02 | modbus | MB1 | 4x | 115 | 1 | int |  | Current_K02
T054 | Current_K03 | modbus | MB1 | 4x | 116 | 1 | int |  | Current_K03
T055 | Current_K04 | modbus | MB1 | 4x | 117 | 1 | int |  | Current_K04 | [5 empty] | (x*10)
T056 | Current_K05 | modbus | MB1 | 4x | 118 | 1 | int |  | Current_K05 | [5 empty] | (x*10)
T057 | Current_K06 | modbus | MB1 | 4x | 119 | 1 | int |  | Current_K06 | [5 empty] | (x*10)
T058 | Current_K07 | modbus | MB1 | 4x | 120 | 1 | int |  | Current_K07 | [5 empty] | (x*10)
T059 | Current_K08 | modbus | MB1 | 4x | 121 | 1 | int |  | Current_K08 | [5 empty] | (x*10)
T060 | Current_K09 | modbus | MB1 | 4x | 122 | 1 | int |  | Current_K09 | [5 empty] | (x*10)
T061 | Current_K10 | modbus | MB1 | 4x | 123 | 1 | int |  | Current_K10 | [5 empty] | (x*10)
T062 | Current_K11 | modbus | MB1 | 4x | 124 | 1 | int |  | Current_K11 | [5 empty] | (x*10)
T063 | Current_K12 | modbus | MB1 | 4x | 125 | 1 | int |  | Current_K12 | [5 empty] | (x*10)
T064 | Current_K13 | modbus | MB1 | 4x | 126 | 1 | int |  | Current_K13 | [5 empty] | (x*10)
T065 | Current_K14 | modbus | MB1 | 4x | 127 | 1 | int |  | Current_K14
T066 | EM001_ActivePower | modbus | MB1 | 4x | 1 | 1 | int |  | EM001_ActivePower | 1 |  |  |  |  | (x*10)
T067 | EM001_ApparentPower | modbus | MB1 | 4x | 2 | 1 | int |  | EM001_ApparentPower | 2
T068 | EM001_Frequency | modbus | MB1 | 4x | 3 | 1 | int |  | EM001_Frequency | 3 |  |  |  |  | (x*10)
T069 | EM001_PhaseACurrent | modbus | MB1 | 4x | 4 | 1 | int |  | EM001_PhaseACurrent | 4
T070 | EM001_PhaseBCurrent | modbus | MB1 | 4x | 5 | 1 | int |  | EM001_PhaseBCurrent | 5 |  |  |  |  | (x*10)
T071 | EM001_PhaseCCurrent | modbus | MB1 | 4x | 6 | 1 | int |  | EM001_PhaseCCurrent | 6
T072 | EM001_PowerFactor | modbus | MB1 | 4x | 7 | 1 | int |  | EM001_PowerFactor | 7
T073 | EM001_ReactivePower | modbus | MB1 | 4x | 8 | 1 | int |  | EM001_ReactivePower | 8
T074 | EM001_TotalExportVarh | modbus | MB1 | 4x | 9 | 1 | int |  | EM001_TotalExportVarh | 9
T075 | EM001_TotalExportWh | modbus | MB1 | 4x | 10 | 1 | int |  | EM001_TotalExportWh | 10
T076 | EM001_TotalImportVarh | modbus | MB1 | 4x | 11 | 1 | int |  | EM001_TotalImportVarh | 11
T077 | EM001_TotalImportWh | modbus | MB1 | 4x | 12 | 1 | int |  | EM001_TotalImportWh | 12 |  |  |  |  | (x*10)
T078 | EM002_ActivePower | modbus | MB1 | 4x | 13 | 1 | int |  | EM002_ActivePower | 13
T079 | EM002_ApparentPower | modbus | MB1 | 4x | 14 | 1 | int |  | EM002_ApparentPower | 14 |  |  |  |  | (x*10)
T080 | EM002_Frequency | modbus | MB1 | 4x | 15 | 1 | int |  | EM002_Frequency | 15
T081 | EM002_PhaseACurrent | modbus | MB1 | 4x | 16 | 1 | int |  | EM002_PhaseACurrent | 16 |  |  |  |  | (x*10)
T082 | EM002_PhaseBCurrent | modbus | MB1 | 4x | 17 | 1 | int |  | EM002_PhaseBCurrent | 17
T083 | EM002_PhaseCCurrent | modbus | MB1 | 4x | 18 | 1 | int |  | EM002_PhaseCCurrent | 18 |  |  |  |  | (x*10)
T084 | EM002_PowerFactor | modbus | MB1 | 4x | 19 | 1 | int |  | EM002_PowerFactor | 19
T085 | EM002_ReactivePower | modbus | MB1 | 4x | 20 | 1 | int |  | EM002_ReactivePower | 20 |  |  |  |  | (x*10)
T086 | EM002_TotalExportVarh | modbus | MB1 | 4x | 21 | 1 | int |  | EM002_TotalExportVarh | 21
T087 | EM002_TotalExportWh | modbus | MB1 | 4x | 22 | 1 | int |  | EM002_TotalExportWh | 22
T088 | EM002_TotalImportVarh | modbus | MB1 | 4x | 23 | 1 | int |  | EM002_TotalImportVarh | 23
T089 | EM002_TotalImportWh | modbus | MB1 | 4x | 24 | 1 | int |  | EM002_TotalImportWh | 24
T090 | EM003_ActivePower | modbus | MB1 | 4x | 25 | 1 | int |  | EM003_ActivePower | 25 |  |  |  |  | (x*10)
T091 | EM003_ApparentPower | modbus | MB1 | 4x | 26 | 1 | int |  | EM003_ApparentPower | 26
T092 | EM003_Frequency | modbus | MB1 | 4x | 27 | 1 | int |  | EM003_Frequency | 27 |  |  |  |  | (x*10)
T093 | EM003_PhaseACurrent | modbus | MB1 | 4x | 28 | 1 | int |  | EM003_PhaseACurrent | 28
T094 | EM003_PhaseBCurrent | modbus | MB1 | 4x | 29 | 1 | int |  | EM003_PhaseBCurrent | 29 |  |  |  |  | (x*10)
T095 | EM003_PhaseCCurrent | modbus | MB1 | 4x | 30 | 1 | int |  | EM003_PhaseCCurrent | 30
T096 | EM003_PowerFactor | modbus | MB1 | 4x | 31 | 1 | int |  | EM003_PowerFactor | 31
T097 | EM003_ReactivePower | modbus | MB1 | 4x | 32 | 1 | int |  | EM003_ReactivePower | 32
T098 | EM003_TotalExportVarh | modbus | MB1 | 4x | 33 | 1 | int |  | EM003_TotalExportVarh | 33
T099 | EM003_TotalExportWh | modbus | MB1 | 4x | 34 | 1 | int |  | EM003_TotalExportWh | 34 |  |  |  |  | (x*10)
T100 | EM003_TotalImportVarh | modbus | MB1 | 4x | 35 | 1 | int |  | EM003_TotalImportVarh | 35
T101 | EM003_TotalImportWh | modbus | MB1 | 4x | 36 | 1 | int |  | EM003_TotalImportWh | 36 |  |  |  |  | (x*10)
T102 | EM004_ActivePower | modbus | MB1 | 4x | 37 | 1 | int |  | EM004_ActivePower | 37
T103 | EM004_ApparentPower | modbus | MB1 | 4x | 38 | 1 | int |  | EM004_ApparentPower | 38 |  |  |  |  | (x*10)
T104 | EM004_Frequency | modbus | MB1 | 4x | 39 | 1 | int |  | EM004_Frequency | 39
T105 | EM004_PhaseACurrent | modbus | MB1 | 4x | 40 | 1 | int |  | EM004_PhaseACurrent | 40
T106 | EM004_PhaseBCurrent | modbus | MB1 | 4x | 41 | 1 | int |  | EM004_PhaseBCurrent | 41 |  |  |  |  | (x*10)
T107 | EM004_PhaseCCurrent | modbus | MB1 | 4x | 42 | 1 | int |  | EM004_PhaseCCurrent | 42
T108 | EM004_PowerFactor | modbus | MB1 | 4x | 43 | 1 | int |  | EM004_PowerFactor | 43 |  |  |  |  | (x*10)
T109 | EM004_ReactivePower | modbus | MB1 | 4x | 44 | 1 | int |  | EM004_ReactivePower | 44
T110 | EM004_TotalExportVarh | modbus | MB1 | 4x | 45 | 1 | int |  | EM004_TotalExportVarh | 45 |  |  |  |  | (x*10)
T111 | EM004_TotalExportWh | modbus | MB1 | 4x | 46 | 1 | int |  | EM004_TotalExportWh | 46
T112 | EM004_TotalImportVarh | modbus | MB1 | 4x | 47 | 1 | int |  | EM004_TotalImportVarh | 47
T113 | EM004_TotalImportWh | modbus | MB1 | 4x | 48 | 1 | int |  | EM004_TotalImportWh | 48 |  |  |  |  | (x*10)
T114 | EM005_ActivePower | modbus | MB1 | 4x | 49 | 1 | int |  | EM005_ActivePower | 49
T115 | EM005_ApparentPower | modbus | MB1 | 4x | 50 | 1 | int |  | EM005_ApparentPower | 50 |  |  |  |  | (x*10)
T116 | EM005_Frequency | modbus | MB1 | 4x | 51 | 1 | int |  | EM005_Frequency | 51
T117 | EM005_PhaseACurrent | modbus | MB1 | 4x | 52 | 1 | int |  | EM005_PhaseACurrent | 52 |  |  |  |  | (x*10)
T118 | EM005_PhaseBCurrent | modbus | MB1 | 4x | 53 | 1 | int |  | EM005_PhaseBCurrent | 53
T119 | EM005_PhaseCCurrent | modbus | MB1 | 4x | 54 | 1 | int |  | EM005_PhaseCCurrent | 54
T120 | EM005_PowerFactor | modbus | MB1 | 4x | 55 | 1 | int |  | EM005_PowerFactor | 55
T121 | EM005_ReactivePower | modbus | MB1 | 4x | 56 | 1 | int |  | EM005_ReactivePower | 56
T122 | EM005_TotalExportVarh | modbus | MB1 | 4x | 57 | 1 | int |  | EM005_TotalExportVarh | 57
T123 | EM005_TotalExportWh | modbus | MB1 | 4x | 58 | 1 | int |  | EM005_TotalExportWh | 58
T124 | EM005_TotalImportVarh | modbus | MB1 | 4x | 59 | 1 | int |  | EM005_TotalImportVarh | 59 |  |  |  |  | (x*10)
T125 | EM005_TotalImportWh | modbus | MB1 | 4x | 60 | 1 | int |  | EM005_TotalImportWh | 60
T126 | EM006_ActivePower | modbus | MB1 | 4x | 61 | 1 | int |  | EM006_ActivePower | 61 |  |  |  |  | (x*10)
T127 | EM006_ApparentPower | modbus | MB1 | 4x | 62 | 1 | int |  | EM006_ApparentPower | 62
T128 | EM006_Frequency | modbus | MB1 | 4x | 63 | 1 | int |  | EM006_Frequency | 63 |  |  |  |  | (x*10)
T129 | EM006_PhaseACurrent | modbus | MB1 | 4x | 64 | 1 | int |  | EM006_PhaseACurrent | 64
T130 | EM006_PhaseBCurrent | modbus | MB1 | 4x | 65 | 1 | int |  | EM006_PhaseBCurrent | 65 |  |  |  |  | (x*10)
T131 | EM006_PhaseCCurrent | modbus | MB1 | 4x | 66 | 1 | int |  | EM006_PhaseCCurrent | 66
T132 | EM006_PowerFactor | modbus | MB1 | 4x | 67 | 1 | int |  | EM006_PowerFactor | 67 |  |  |  |  | (x*10)
T133 | EM006_ReactivePower | modbus | MB1 | 4x | 68 | 1 | int |  | EM006_ReactivePower | 68
T134 | EM006_TotalExportVarh | modbus | MB1 | 4x | 69 | 1 | int |  | EM006_TotalExportVarh | 69
T135 | EM006_TotalExportWh | modbus | MB1 | 4x | 70 | 1 | int |  | EM006_TotalExportWh | 70
T136 | EM006_TotalImportVarh | modbus | MB1 | 4x | 71 | 1 | int |  | EM006_TotalImportVarh | 71
T137 | EM006_TotalImportWh | modbus | MB1 | 4x | 72 | 1 | int |  | EM006_TotalImportWh | 72 |  |  |  |  | (x*10)
T138 | EM007_ActivePower | modbus | MB1 | 4x | 73 | 1 | int |  | EM007_ActivePower | 73
T139 | EM007_ApparentPower | modbus | MB1 | 4x | 74 | 1 | int |  | EM007_ApparentPower | 74 |  |  |  |  | (x*10)
T140 | EM007_Frequency | modbus | MB1 | 4x | 75 | 1 | int |  | EM007_Frequency | 75
T141 | EM007_PhaseACurrent | modbus | MB1 | 4x | 76 | 1 | int |  | EM007_PhaseACurrent | 76 |  |  |  |  | (x*10)
T142 | EM007_PhaseBCurrent | modbus | MB1 | 4x | 77 | 1 | int |  | EM007_PhaseBCurrent | 77
T143 | EM007_PhaseCCurrent | modbus | MB1 | 4x | 78 | 1 | int |  | EM007_PhaseCCurrent | 78
T144 | EM007_PowerFactor | modbus | MB1 | 4x | 79 | 1 | int |  | EM007_PowerFactor | 79
T145 | EM007_ReactivePower | modbus | MB1 | 4x | 80 | 1 | int |  | EM007_ReactivePower | 80
T146 | EM007_TotalExportVarh | modbus | MB1 | 4x | 81 | 1 | int |  | EM007_TotalExportVarh | 81 |  |  |  |  | (x*10)
T147 | EM007_TotalExportWh | modbus | MB1 | 4x | 82 | 1 | int |  | EM007_TotalExportWh | 82
T148 | EM007_TotalImportVarh | modbus | MB1 | 4x | 83 | 1 | int |  | EM007_TotalImportVarh | 83 |  |  |  |  | (x*10)
T149 | EM007_TotalImportWh | modbus | MB1 | 4x | 84 | 1 | int |  | EM007_TotalImportWh | 84
T150 | EM008_ActivePower | modbus | MB1 | 4x | 85 | 1 | int |  | EM008_ActivePower | 85 |  |  |  |  | (x*10)
T151 | EM008_ApparentPower | modbus | MB1 | 4x | 86 | 1 | int |  | EM008_ApparentPower | 86
T152 | EM008_Frequency | modbus | MB1 | 4x | 87 | 1 | int |  | EM008_Frequency | 87
T153 | EM008_PhaseACurrent | modbus | MB1 | 4x | 88 | 1 | int |  | EM008_PhaseACurrent | 88 |  |  |  |  | (x*10)
T154 | EM008_PhaseBCurrent | modbus | MB1 | 4x | 89 | 1 | int |  | EM008_PhaseBCurrent | 89
T155 | EM008_PhaseCCurrent | modbus | MB1 | 4x | 90 | 1 | int |  | EM008_PhaseCCurrent | 90 |  |  |  |  | (x*10)
T156 | EM008_PowerFactor | modbus | MB1 | 4x | 91 | 1 | int |  | EM008_PowerFactor | 91
T157 | EM008_ReactivePower | modbus | MB1 | 4x | 92 | 1 | int |  | EM008_ReactivePower | 92 |  |  |  |  | (x*10)
T158 | EM008_TotalExportVarh | modbus | MB1 | 4x | 93 | 1 | int |  | EM008_TotalExportVarh | 93
T159 | EM008_TotalExportWh | modbus | MB1 | 4x | 94 | 1 | int |  | EM008_TotalExportWh | 94 |  |  |  |  | (x*10)
T160 | EM008_TotalImportVarh | modbus | MB1 | 4x | 95 | 1 | int |  | EM008_TotalImportVarh | 95
T161 | EM008_TotalImportWh | modbus | MB1 | 4x | 96 | 1 | int |  | EM008_TotalImportWh | 96 |  |  |  |  | (x*10)
T162 | EM009_ActivePower | modbus | MB1 | 4x | 97 | 1 | int |  | EM009_ActivePower | 97
T163 | EM009_ApparentPower | modbus | MB1 | 4x | 98 | 1 | int |  | EM009_ApparentPower | 98 |  |  |  |  | (x*10)
T164 | EM009_Frequency | modbus | MB1 | 4x | 99 | 1 | int |  | EM009_Frequency | 99
T165 | EM009_PhaseACurrent | modbus | MB1 | 4x | 100 | 1 | int |  | EM009_PhaseACurrent | 100
T166 | EM009_PhaseBCurrent | modbus | MB1 | 4x | 101 | 1 | int |  | EM009_PhaseBCurrent | 101
T167 | EM009_PhaseCCurrent | modbus | MB1 | 4x | 102 | 1 | int |  | EM009_PhaseCCurrent | 102
T168 | EM009_PowerFactor | modbus | MB1 | 4x | 103 | 1 | int |  | EM009_PowerFactor | 103
T169 | EM009_ReactivePower | modbus | MB1 | 4x | 104 | 1 | int |  | EM009_ReactivePower | 104
T170 | EM009_TotalExportVarh | modbus | MB1 | 4x | 105 | 1 | int |  | EM009_TotalExportVarh | 105 |  |  |  |  | (x*10)
T171 | EM009_TotalExportWh | modbus | MB1 | 4x | 106 | 1 | int |  | EM009_TotalExportWh | 106
T172 | EM009_TotalImportVarh | modbus | MB1 | 4x | 107 | 1 | int |  | EM009_TotalImportVarh | 107 |  |  |  |  | (x*10)
T173 | EM009_TotalImportWh | modbus | MB1 | 4x | 108 | 1 | int |  | EM009_TotalImportWh | 108
T174 | EM010_ActivePower | modbus | MB1 | 4x | 109 | 1 | int |  | EM010_ActivePower | 109 |  |  |  |  | (x*10)
T175 | EM010_ApparentPower | modbus | MB1 | 4x | 110 | 1 | int |  | EM010_ApparentPower | 110
T176 | EM010_Frequency | modbus | MB1 | 4x | 111 | 1 | int |  | EM010_Frequency | 111 |  |  |  |  | (x*10)
T177 | EM010_PhaseACurrent | modbus | MB1 | 4x | 112 | 1 | int |  | EM010_PhaseACurrent | 112
T178 | EM010_PhaseBCurrent | modbus | MB1 | 4x | 113 | 1 | int |  | EM010_PhaseBCurrent | 113 |  |  |  |  | (x*10)
T179 | EM010_PhaseCCurrent | modbus | MB1 | 4x | 114 | 1 | int |  | EM010_PhaseCCurrent | 114
T180 | EM010_PowerFactor | modbus | MB1 | 4x | 115 | 1 | int |  | EM010_PowerFactor | 115
T181 | EM010_ReactivePower | modbus | MB1 | 4x | 116 | 1 | int |  | EM010_ReactivePower | 116
T182 | EM010_TotalExportVarh | modbus | MB1 | 4x | 117 | 1 | int |  | EM010_TotalExportVarh | 117
T183 | EM010_TotalExportWh | modbus | MB1 | 4x | 118 | 1 | int |  | EM010_TotalExportWh | 118 |  |  |  |  | (x*10)
T184 | EM010_TotalImportVarh | modbus | MB1 | 4x | 119 | 1 | int |  | EM010_TotalImportVarh | 119
T185 | EM010_TotalImportWh | modbus | MB1 | 4x | 120 | 1 | int |  | EM010_TotalImportWh | 120 |  |  |  |  | (x*10)
T186 | EM011_ActivePower | modbus | MB1 | 4x | 121 | 1 | int |  | EM011_ActivePower | 121
T187 | EM011_ApparentPower | modbus | MB1 | 4x | 122 | 1 | int |  | EM011_ApparentPower | 122 |  |  |  |  | (x*10)
T188 | EM011_Frequency | modbus | MB1 | 4x | 123 | 1 | int |  | EM011_Frequency | 123
T189 | EM011_PhaseACurrent | modbus | MB1 | 4x | 124 | 1 | int |  | EM011_PhaseACurrent | 124
T190 | EM011_PhaseBCurrent | modbus | MB1 | 4x | 125 | 1 | int |  | EM011_PhaseBCurrent | 125
T191 | EM011_PhaseCCurrent | modbus | MB1 | 4x | 126 | 1 | int |  | EM011_PhaseCCurrent | 126
T192 | EM011_PowerFactor | modbus | MB1 | 4x | 127 | 1 | int |  | EM011_PowerFactor | 127 |  |  |  |  | (x*10)
T193 | EM011_ReactivePower | modbus | MB1 | 4x | 128 | 1 | int |  | EM011_ReactivePower | 128
T194 | EM011_TotalExportVarh | modbus | MB1 | 4x | 129 | 1 | int |  | EM011_TotalExportVarh | 129 |  |  |  |  | (x*10)
T195 | EM011_TotalExportWh | modbus | MB1 | 4x | 130 | 1 | int |  | EM011_TotalExportWh | 130
T196 | EM011_TotalImportVarh | modbus | MB1 | 4x | 131 | 1 | int |  | EM011_TotalImportVarh | 131 |  |  |  |  | (x*10)
T197 | EM011_TotalImportWh | modbus | MB1 | 4x | 132 | 1 | int |  | EM011_TotalImportWh | 132 |  |  |  |  | (x*10)
T198 | EM012_ActivePower | modbus | MB1 | 4x | 133 | 1 | int |  | EM012_ActivePower | 133
T199 | EM012_ApparentPower | modbus | MB1 | 4x | 134 | 1 | int |  | EM012_ApparentPower | 134 |  |  |  |  | (x*10)
T200 | EM012_Frequency | modbus | MB1 | 4x | 135 | 1 | int |  | EM012_Frequency | 135
T201 | EM012_PhaseACurrent | modbus | MB1 | 4x | 136 | 1 | int |  | EM012_PhaseACurrent | 136 |  |  |  |  | (x*10)
T202 | EM012_PhaseBCurrent | modbus | MB1 | 4x | 137 | 1 | int |  | EM012_PhaseBCurrent | 137
T203 | EM012_PhaseCCurrent | modbus | MB1 | 4x | 138 | 1 | int |  | EM012_PhaseCCurrent | 138
T204 | EM012_PowerFactor | modbus | MB1 | 4x | 139 | 1 | int |  | EM012_PowerFactor | 139
T205 | EM012_ReactivePower | modbus | MB1 | 4x | 140 | 1 | int |  | EM012_ReactivePower | 140
T206 | EM012_TotalExportVarh | modbus | MB1 | 4x | 141 | 1 | int |  | EM012_TotalExportVarh | 141
T207 | EM012_TotalExportWh | modbus | MB1 | 4x | 142 | 1 | int |  | EM012_TotalExportWh | 142
T208 | EM012_TotalImportVarh | modbus | MB1 | 4x | 143 | 1 | int |  | EM012_TotalImportVarh | 143 |  |  |  |  | (x*10)
T209 | EM012_TotalImportWh | modbus | MB1 | 4x | 144 | 1 | int |  | EM012_TotalImportWh | 144
T210 | EM013_ActivePower | modbus | MB1 | 4x | 145 | 1 | int |  | EM013_ActivePower | 145 |  |  |  |  | (x*10)
T211 | EM013_ApparentPower | modbus | MB1 | 4x | 146 | 1 | int |  | EM013_ApparentPower | 146
T212 | EM013_Frequency | modbus | MB1 | 4x | 147 | 1 | int |  | EM013_Frequency | 147 |  |  |  |  | (x*10)
T213 | EM013_PhaseACurrent | modbus | MB1 | 4x | 148 | 1 | int |  | EM013_PhaseACurrent | 148
T214 | EM013_PhaseBCurrent | modbus | MB1 | 4x | 149 | 1 | int |  | EM013_PhaseBCurrent | 149 |  |  |  |  | (x*10)
T215 | EM013_PhaseCCurrent | modbus | MB1 | 4x | 150 | 1 | int |  | EM013_PhaseCCurrent | 150
T216 | EM013_PowerFactor | modbus | MB1 | 4x | 151 | 1 | int |  | EM013_PowerFactor | 151 |  |  |  |  | (x*10)
T217 | EM013_ReactivePower | modbus | MB1 | 4x | 152 | 1 | int |  | EM013_ReactivePower | 152
T218 | EM013_TotalExportVarh | modbus | MB1 | 4x | 153 | 1 | int |  | EM013_TotalExportVarh | 153
T219 | EM013_TotalExportWh | modbus | MB1 | 4x | 154 | 1 | int |  | EM013_TotalExportWh | 154
T220 | EM013_TotalImportVarh | modbus | MB1 | 4x | 155 | 1 | int |  | EM013_TotalImportVarh | 155
T221 | EM013_TotalImportWh | modbus | MB1 | 4x | 156 | 1 | int |  | EM013_TotalImportWh | 156 |  |  |  |  | (x*10)
T222 | EM014_ActivePower | modbus | MB1 | 4x | 157 | 1 | int |  | EM014_ActivePower | 157
T223 | EM014_ApparentPower | modbus | MB1 | 4x | 158 | 1 | int |  | EM014_ApparentPower | 158 |  |  |  |  | (x*10)
T224 | EM014_Frequency | modbus | MB1 | 4x | 159 | 1 | int |  | EM014_Frequency | 159
T225 | EM014_PhaseACurrent | modbus | MB1 | 4x | 160 | 1 | int |  | EM014_PhaseACurrent | 160 |  |  |  |  | (x*10)
T226 | EM014_PhaseBCurrent | modbus | MB1 | 4x | 161 | 1 | int |  | EM014_PhaseBCurrent | 161
T227 | EM014_PhaseCCurrent | modbus | MB1 | 4x | 162 | 1 | int |  | EM014_PhaseCCurrent | 162
T228 | EM014_PowerFactor | modbus | MB1 | 4x | 163 | 1 | int |  | EM014_PowerFactor | 163
T229 | EM014_ReactivePower | modbus | MB1 | 4x | 164 | 1 | int |  | EM014_ReactivePower | 164
T230 | EM014_TotalExportVarh | modbus | MB1 | 4x | 165 | 1 | int |  | EM014_TotalExportVarh | 165 |  |  |  |  | (x*10)
T231 | EM014_TotalExportWh | modbus | MB1 | 4x | 166 | 1 | int |  | EM014_TotalExportWh | 166
T232 | EM014_TotalImportVarh | modbus | MB1 | 4x | 167 | 1 | int |  | EM014_TotalImportVarh | 167 |  |  |  |  | (x*10)
T233 | EM014_TotalImportWh | modbus | MB1 | 4x | 168 | 1 | int |  | EM014_TotalImportWh | 168
T234 | INV001_ACCurrent | IEC104 |  |  |  |  | int |  | INV001_ACCurrent | 169 | IEC1 | 1 | 1 | 11 | (x*10)
T235 | INV001_ACOvervoltage | IEC104 |  |  |  |  | Bool |  | INV001_ACOvervoltage | 170 | IEC1 | 1 | 2 | 11
T236 | INV001_ACUndervoltage | IEC104 |  |  |  |  | Bool |  | INV001_ACUndervoltage | 171 | IEC1 | 1 | 3 | 11
T237 | INV001_ACVoltage | IEC104 |  |  |  |  | int |  | INV001_ACVoltage | 172 | IEC1 | 1 | 4 | 11 | (x*10)
T238 | INV001_AFCISelfCheckFailure | IEC104 |  |  |  |  | Bool |  | INV001_AFCISelfCheckFailure | 173 | IEC1 | 1 | 5 | 11
T239 | INV001_AbnormalGrounding | IEC104 |  |  |  |  | Bool |  | INV001_AbnormalGrounding | 174 | IEC1 | 1 | 6 | 11 | (x*10)
T240 | INV001_AbnormalPVModuleConfiguration | IEC104 |  |  |  |  | Bool |  | INV001_AbnormalPVModuleConfiguration | 175 | IEC1 | 1 | 7 | 11
T241 | INV001_AbnormalResidualCurrent | IEC104 |  |  |  |  | Bool |  | INV001_AbnormalResidualCurrent | 176 | IEC1 | 1 | 8 | 11 | (x*10)
T242 | INV001_AbnormalStringPower | IEC104 |  |  |  |  | Bool |  | INV001_AbnormalStringPower | 177 | IEC1 | 1 | 9 | 11
T243 | INV001_ActiveIslanding | IEC104 |  |  |  |  | Bool |  | INV001_ActiveIslanding | 178 | IEC1 | 1 | 10 | 11
T244 | INV001_ActivePower | IEC104 |  |  |  |  | int |  | INV001_ActivePower | 179 | IEC1 | 1 | 11 | 11
T245 | INV001_ApparentPower | [5 empty] | Calc |  | INV001_ApparentPower | 180 |  |  |  |  | (x*0.1 ) | INV001_ActivePower / INV001_PowerFactor
T246 | INV001_BuiltPIDOperationAbnormal | IEC104 |  |  |  |  | Bool |  | INV001_BuiltPIDOperationAbnormal | 181 | IEC1 | 1 | 13 | 11
T247 | INV001_CabinetOvertemperature | IEC104 |  |  |  |  | Bool |  | INV001_CabinetOvertemperature | 182 | IEC1 | 1 | 14 | 11
T248 | INV001_CommunicationFailure | IEC104 |  |  |  |  | Bool |  | INV001_CommunicationFailure | 183 | IEC1 | 1 | 15 | 11
T249 | INV001_CommunicationStatus | IEC104 |  |  |  |  | Bool |  | INV001_CommunicationStatus | 184 | IEC1 | 1 | 16 | 11
T250 | INV001_DCArcFault | IEC104 |  |  |  |  | Bool |  | INV001_DCArcFault | 185 | IEC1 | 1 | 17 | 11
T251 | INV001_DCCurrent | IEC104 |  |  |  |  | int |  | INV001_DCCurrent | 186 | IEC1 | 1 | 18 | 11
T252 | INV001_DCInsulationFault | IEC104 |  |  |  |  | Bool |  | INV001_DCInsulationFault | 187 | IEC1 | 1 | 19 | 11
T253 | INV001_DCOvervoltage | IEC104 |  |  |  |  | Bool |  | INV001_DCOvervoltage | 188 | IEC1 | 1 | 20 | 11
T254 | INV001_DCPower | [5 empty] | Calc |  | INV001_DCPower | 189
T255 | INV001_DCVoltage | IEC104 |  |  |  |  | int |  | INV001_DCVoltage | 190
T256 | INV001_DailyEnergyYield | IEC104 |  |  |  |  | int |  | INV001_DailyEnergyYield | 191
T257 | INV001_DeviceFault | IEC104 |  |  |  |  | Bool |  | INV001_DeviceFault | 192
T258 | INV001_ExternalFanAbnormal | IEC104 |  |  |  |  | Bool |  | INV001_ExternalFanAbnormal | 193
T259 | INV001_FanFailure | IEC104 |  |  |  |  | Bool |  | INV001_FanFailure | 194
T260 | INV001_Faulty | IEC104 |  |  |  |  | Bool |  | INV001_Faulty | 195
T261 | INV001_FaultyMonitoringUnit | IEC104 |  |  |  |  | Bool |  | INV001_FaultyMonitoringUnit | 196
T262 | INV001_FaultyPowerCollector | IEC104 |  |  |  |  | Bool |  | INV001_FaultyPowerCollector | 197
T263 | INV001_Frequency | IEC104 |  |  |  |  | int |  | INV001_Frequency | 198
T264 | INV001_GeneralFaultTrip | IEC104 |  |  |  |  | Bool |  | INV001_GeneralFaultTrip | 199
T265 | INV001_Grid | IEC104 |  |  |  |  | Bool |  | INV001_Grid | 200
T266 | INV001_GridConnectionDeratingInverterInternalCauses | IEC104 |  |  |  |  | Bool |  | INV001_GridConnectionDeratingInverterInternalCauses | 201
T267 | INV001_GridConnectionDeratingPowerRationing | IEC104 |  |  |  |  | Bool |  | INV001_GridConnectionDeratingPowerRationing | 202
T268 | INV001_GridLoss | IEC104 |  |  |  |  | Bool |  | INV001_GridLoss | 203
T269 | INV001_GridOverfrequency | IEC104 |  |  |  |  | Bool |  | INV001_GridOverfrequency | 204
T270 | INV001_GridOvervoltage | IEC104 |  |  |  |  | Bool |  | INV001_GridOvervoltage | 205
T271 | INV001_GridTiedOffGridControllerAbnormal | IEC104 |  |  |  |  | Bool |  | INV001_GridTiedOffGridControllerAbnormal | 206
T272 | INV001_GridUnderfrequency | IEC104 |  |  |  |  | Bool |  | INV001_GridUnderfrequency | 207
T273 | INV001_GridUndervoltage | IEC104 |  |  |  |  | Bool |  | INV001_GridUndervoltage | 208
T274 | INV001_GridVoltageImbalance | IEC104 |  |  |  |  | Bool |  | INV001_GridVoltageImbalance | 209
T275 | INV001_GroundFault | IEC104 |  |  |  |  | Bool |  | INV001_GroundFault | 210
T276 | INV001_HighInputStringVoltageGround | IEC104 |  |  |  |  | Bool |  | INV001_HighInputStringVoltageGround | 211
T277 | INV001_HighStringInputVoltage | IEC104 |  |  |  |  | Bool |  | INV001_HighStringInputVoltage | 212
T278 | INV001_InverterEfficiency | IEC104 |  |  |  |  | int |  | INV001_InverterEfficiency | 213
T279 | INV001_InverterGridConnectionStatus | IEC104 |  |  |  |  | Bool |  | INV001_InverterGridConnectionStatus | 214
T280 | INV001_InverterOverTemperature | IEC104 |  |  |  |  | Bool |  | INV001_InverterOverTemperature | 215
T281 | INV001_InverterRunningStopped | IEC104 |  |  |  |  | int |  | INV001_InverterRunningStopped | 216
T282 | INV001_InverterStartupShutdownStatus | IEC104 |  |  |  |  | Bool |  | INV001_InverterStartupShutdownStatus | 217
T283 | INV001_InverterTripHistoryAvailable | IEC104 |  |  |  |  | Bool |  | INV001_InverterTripHistoryAvailable | 218
T284 | INV001_IslandingDetectionStatus | IEC104 |  |  |  |  | Bool |  | INV001_IslandingDetectionStatus | 219
T285 | INV001_LicenseExpired | IEC104 |  |  |  |  | Bool |  | INV001_LicenseExpired | 220
T286 | INV001_LockingStatus | IEC104 |  |  |  |  | Bool |  | INV001_LockingStatus | 221
T287 | INV001_LowInsulationResistance | IEC104 |  |  |  |  | Bool |  | INV001_LowInsulationResistance | 222
T288 | INV001_NormalGridConnection | IEC104 |  |  |  |  | Bool |  | INV001_NormalGridConnection | 223
T289 | INV001_NormalShutdown | IEC104 |  |  |  |  | Bool |  | INV001_NormalShutdown | 224
T290 | INV001_OffGridOutputOverload | IEC104 |  |  |  |  | Bool |  | INV001_OffGridOutputOverload | 225
T291 | INV001_OptimizerFault | IEC104 |  |  |  |  | Bool |  | INV001_OptimizerFault | 226
T292 | INV001_OutputDCComponentOverhigh | IEC104 |  |  |  |  | Bool |  | INV001_OutputDCComponentOverhigh | 227
T293 | INV001_OutputOvercurrent | IEC104 |  |  |  |  | Bool |  | INV001_OutputOvercurrent | 228
T294 | INV001_PVStringLoss | IEC104 |  |  |  |  | Bool |  | INV001_PVStringLoss | 229
T295 | INV001_PassiveIslanding | IEC104 |  |  |  |  | Bool |  | INV001_PassiveIslanding | 230
T296 | INV001_PeripheralPortShortCircuit | IEC104 |  |  |  |  | Bool |  | INV001_PeripheralPortShortCircuit | 231
T297 | INV001_PhaseWireShortCircuitedPE | IEC104 |  |  |  |  | Bool |  | INV001_PhaseWireShortCircuitedPE | 232
T298 | INV001_PowerCurtailmentStatus | IEC104 |  |  |  |  | Bool |  | INV001_PowerCurtailmentStatus | 233
T299 | INV001_PowerFactor | IEC104 |  |  |  |  | int |  | INV001_PowerFactor | 234 | IEC1 | 1 | 18 | 11
T300 | INV001_PowerLimitationActiveGridCommand | IEC104 |  |  |  |  | Bool |  | INV001_PowerLimitationActiveGridCommand | 235
T301 | INV001_ReactivePower | IEC104 |  |  |  |  | int |  | INV001_ReactivePower | 236
T302 | INV001_RemoteOFFStatus | IEC104 |  |  |  |  | Bool |  | INV001_RemoteOFFStatus | 237
T303 | INV001_Shutdown | IEC104 |  |  |  |  | Bool |  | INV001_Shutdown | 238
T304 | INV001_ShutdownPowerRationing | IEC104 |  |  |  |  | Bool |  | INV001_ShutdownPowerRationing | 239
T305 | INV001_SpotCheck | IEC104 |  |  |  |  | Bool |  | INV001_SpotCheck | 240
T306 | INV001_Standby | IEC104 |  |  |  |  | Bool |  | INV001_Standby | 241
T307 | INV001_StringCurrentBackfeed | IEC104 |  |  |  |  | Bool |  | INV001_StringCurrentBackfeed | 242
T308 | INV001_StringReverseConnection | IEC104 |  |  |  |  | Bool |  | INV001_StringReverseConnection | 243
T309 | INV001_StringReversePolarity | IEC104 |  |  |  |  | Bool |  | INV001_StringReversePolarity | 244
T310 | INV001_TotalEnergyYield | IEC104 |  |  |  |  | int |  | INV001_TotalEnergyYield | 245
T311 | INV001_TransientACOvervoltage | IEC104 |  |  |  |  | Bool |  | INV001_TransientACOvervoltage | 246
T312 | INV001_UnstableGridFrequency | IEC104 |  |  |  |  | Bool |  | INV001_UnstableGridFrequency | 247
T313 | INV001_UpgradeFailed | IEC104 |  |  |  |  | Bool |  | INV001_UpgradeFailed | 248
T314 | INV001_WarningActive | IEC104 |  |  |  |  | Bool |  | INV001_WarningActive | 249
T315 | INV002_ACCurrent | IEC104 |  |  |  |  | int |  | INV002_ACCurrent | 250 | IEC1 | 2 | 21 | 11 | (x*0.1 )
T316 | INV002_ACOvervoltage | IEC104 |  |  |  |  | Bool |  | INV002_ACOvervoltage | 251 | IEC1 | 2 | 22 | 11
T317 | INV002_ACUndervoltage | IEC104 |  |  |  |  | Bool |  | INV002_ACUndervoltage | 252 | IEC1 | 2 | 23 | 11
T318 | INV002_ACVoltage | IEC104 |  |  |  |  | int |  | INV002_ACVoltage | 253 | IEC1 | 2 | 24 | 11
T319 | INV002_AFCISelfCheckFailure | IEC104 |  |  |  |  | Bool |  | INV002_AFCISelfCheckFailure | 254 | IEC1 | 2 | 25 | 11
T320 | INV002_AbnormalGrounding | IEC104 |  |  |  |  | Bool |  | INV002_AbnormalGrounding | 255 | IEC1 | 2 | 26 | 11
T321 | INV002_AbnormalPVModuleConfiguration | IEC104 |  |  |  |  | Bool |  | INV002_AbnormalPVModuleConfiguration | 256 | IEC1 | 2 | 27 | 11
T322 | INV002_AbnormalResidualCurrent | IEC104 |  |  |  |  | Bool |  | INV002_AbnormalResidualCurrent | 257 | IEC1 | 2 | 28 | 11
T323 | INV002_AbnormalStringPower | IEC104 |  |  |  |  | Bool |  | INV002_AbnormalStringPower | 258 | IEC1 | 2 | 29 | 11
T324 | INV002_ActiveIslanding | IEC104 |  |  |  |  | Bool |  | INV002_ActiveIslanding | 259 | IEC1 | 2 | 30 | 11
T325 | INV002_ActivePower | IEC104 |  |  |  |  | int |  | INV002_ActivePower | 260 | IEC1 | 2 | 31 | 11
T326 | INV002_ApparentPower | [5 empty] | Calc |  | INV002_ApparentPower | 261 |  |  |  |  | (x*0.1 ) | INV002_ActivePower / INV002_PowerFactor
T327 | INV002_BuiltPIDOperationAbnormal | IEC104 |  |  |  |  | Bool |  | INV002_BuiltPIDOperationAbnormal | 262 | IEC1 | 2 | 33 | 11
T328 | INV002_CabinetOvertemperature | IEC104 |  |  |  |  | Bool |  | INV002_CabinetOvertemperature | 263 | IEC1 | 2 | 34 | 11
T329 | INV002_CommunicationFailure | IEC104 |  |  |  |  | Bool |  | INV002_CommunicationFailure | 264 | IEC1 | 2 | 35 | 11
T330 | INV002_CommunicationStatus | IEC104 |  |  |  |  | Bool |  | INV002_CommunicationStatus | 265 | IEC1 | 2 | 36 | 11
T331 | INV002_DCArcFault | IEC104 |  |  |  |  | Bool |  | INV002_DCArcFault | 266 | IEC1 | 2 | 37 | 11
T332 | INV002_DCCurrent | IEC104 |  |  |  |  | int |  | INV002_DCCurrent | 267 | IEC1 | 2 | 38 | 11
T333 | INV002_DCInsulationFault | IEC104 |  |  |  |  | Bool |  | INV002_DCInsulationFault | 268 | IEC1 | 2 | 39 | 11
T334 | INV002_DCOvervoltage | IEC104 |  |  |  |  | Bool |  | INV002_DCOvervoltage | 269 | IEC1 | 2 | 40 | 11
T335 | INV002_DCPower | [5 empty] | Calc |  | INV002_DCPower | 270
T336 | INV002_DCVoltage | IEC104 |  |  |  |  | int |  | INV002_DCVoltage | 271
T337 | INV002_DailyEnergyYield | IEC104 |  |  |  |  | int |  | INV002_DailyEnergyYield | 272
T338 | INV002_DeviceFault | IEC104 |  |  |  |  | Bool |  | INV002_DeviceFault | 273
T339 | INV002_ExternalFanAbnormal | IEC104 |  |  |  |  | Bool |  | INV002_ExternalFanAbnormal | 274
T340 | INV002_FanFailure | IEC104 |  |  |  |  | Bool |  | INV002_FanFailure | 275
T341 | INV002_Faulty | IEC104 |  |  |  |  | Bool |  | INV002_Faulty | 276
T342 | INV002_FaultyMonitoringUnit | IEC104 |  |  |  |  | Bool |  | INV002_FaultyMonitoringUnit | 277
T343 | INV002_FaultyPowerCollector | IEC104 |  |  |  |  | Bool |  | INV002_FaultyPowerCollector | 278
T344 | INV002_Frequency | IEC104 |  |  |  |  | int |  | INV002_Frequency | 279
T345 | INV002_GeneralFaultTrip | IEC104 |  |  |  |  | Bool |  | INV002_GeneralFaultTrip | 280
T346 | INV002_Grid | IEC104 |  |  |  |  | Bool |  | INV002_Grid | 281
T347 | INV002_GridConnectionDeratingInverterInternalCauses | IEC104 |  |  |  |  | Bool |  | INV002_GridConnectionDeratingInverterInternalCauses | 282
T348 | INV002_GridConnectionDeratingPowerRationing | IEC104 |  |  |  |  | Bool |  | INV002_GridConnectionDeratingPowerRationing | 283
T349 | INV002_GridLoss | IEC104 |  |  |  |  | Bool |  | INV002_GridLoss | 284
T350 | INV002_GridOverfrequency | IEC104 |  |  |  |  | Bool |  | INV002_GridOverfrequency | 285
T351 | INV002_GridOvervoltage | IEC104 |  |  |  |  | Bool |  | INV002_GridOvervoltage | 286
T352 | INV002_GridTiedOffGridControllerAbnormal | IEC104 |  |  |  |  | Bool |  | INV002_GridTiedOffGridControllerAbnormal | 287
T353 | INV002_GridUnderfrequency | IEC104 |  |  |  |  | Bool |  | INV002_GridUnderfrequency | 288
T354 | INV002_GridUndervoltage | IEC104 |  |  |  |  | Bool |  | INV002_GridUndervoltage | 289
T355 | INV002_GridVoltageImbalance | IEC104 |  |  |  |  | Bool |  | INV002_GridVoltageImbalance | 290
T356 | INV002_GroundFault | IEC104 |  |  |  |  | Bool |  | INV002_GroundFault | 291
T357 | INV002_HighInputStringVoltageGround | IEC104 |  |  |  |  | Bool |  | INV002_HighInputStringVoltageGround | 292
T358 | INV002_HighStringInputVoltage | IEC104 |  |  |  |  | Bool |  | INV002_HighStringInputVoltage | 293
T359 | INV002_InverterEfficiency | IEC104 |  |  |  |  | int |  | INV002_InverterEfficiency | 294
T360 | INV002_InverterGridConnectionStatus | IEC104 |  |  |  |  | Bool |  | INV002_InverterGridConnectionStatus | 295
T361 | INV002_InverterOverTemperature | IEC104 |  |  |  |  | Bool |  | INV002_InverterOverTemperature | 296
T362 | INV002_InverterRunningStopped | IEC104 |  |  |  |  | int |  | INV002_InverterRunningStopped | 297
T363 | INV002_InverterStartupShutdownStatus | IEC104 |  |  |  |  | Bool |  | INV002_InverterStartupShutdownStatus | 298
T364 | INV002_InverterTripHistoryAvailable | IEC104 |  |  |  |  | Bool |  | INV002_InverterTripHistoryAvailable | 299
T365 | INV002_IslandingDetectionStatus | IEC104 |  |  |  |  | Bool |  | INV002_IslandingDetectionStatus | 300
T366 | INV002_LicenseExpired | IEC104 |  |  |  |  | Bool |  | INV002_LicenseExpired | 301
T367 | INV002_LockingStatus | IEC104 |  |  |  |  | Bool |  | INV002_LockingStatus | 302
T368 | INV002_LowInsulationResistance | IEC104 |  |  |  |  | Bool |  | INV002_LowInsulationResistance | 303
T369 | INV002_NormalGridConnection | IEC104 |  |  |  |  | Bool |  | INV002_NormalGridConnection | 304
T370 | INV002_NormalShutdown | IEC104 |  |  |  |  | Bool |  | INV002_NormalShutdown | 305
T371 | INV002_OffGridOutputOverload | IEC104 |  |  |  |  | Bool |  | INV002_OffGridOutputOverload | 306
T372 | INV002_OptimizerFault | IEC104 |  |  |  |  | Bool |  | INV002_OptimizerFault | 307
T373 | INV002_OutputDCComponentOverhigh | IEC104 |  |  |  |  | Bool |  | INV002_OutputDCComponentOverhigh | 308
T374 | INV002_OutputOvercurrent | IEC104 |  |  |  |  | Bool |  | INV002_OutputOvercurrent | 309
T375 | INV002_PVStringLoss | IEC104 |  |  |  |  | Bool |  | INV002_PVStringLoss | 310
T376 | INV002_PassiveIslanding | IEC104 |  |  |  |  | Bool |  | INV002_PassiveIslanding | 311
T377 | INV002_PeripheralPortShortCircuit | IEC104 |  |  |  |  | Bool |  | INV002_PeripheralPortShortCircuit | 312
T378 | INV002_PhaseWireShortCircuitedPE | IEC104 |  |  |  |  | Bool |  | INV002_PhaseWireShortCircuitedPE | 313
T379 | INV002_PowerCurtailmentStatus | IEC104 |  |  |  |  | Bool |  | INV002_PowerCurtailmentStatus | 314
T380 | INV002_PowerFactor | IEC104 |  |  |  |  | int |  | INV002_PowerFactor | 315 | IEC1 | 2 | 38 | 11
T381 | INV002_PowerLimitationActiveGridCommand | IEC104 |  |  |  |  | Bool |  | INV002_PowerLimitationActiveGridCommand | 316
T382 | INV002_ReactivePower | IEC104 |  |  |  |  | int |  | INV002_ReactivePower | 317
T383 | INV002_RemoteOFFStatus | IEC104 |  |  |  |  | Bool |  | INV002_RemoteOFFStatus | 318
T384 | INV002_Shutdown | IEC104 |  |  |  |  | Bool |  | INV002_Shutdown | 319
T385 | INV002_ShutdownPowerRationing | IEC104 |  |  |  |  | Bool |  | INV002_ShutdownPowerRationing | 320
T386 | INV002_SpotCheck | IEC104 |  |  |  |  | Bool |  | INV002_SpotCheck | 321
T387 | INV002_Standby | IEC104 |  |  |  |  | Bool |  | INV002_Standby | 322
T388 | INV002_StringCurrentBackfeed | IEC104 |  |  |  |  | Bool |  | INV002_StringCurrentBackfeed | 323
T389 | INV002_StringReverseConnection | IEC104 |  |  |  |  | Bool |  | INV002_StringReverseConnection | 324
T390 | INV002_StringReversePolarity | IEC104 |  |  |  |  | Bool |  | INV002_StringReversePolarity | 325
T391 | INV002_TotalEnergyYield | IEC104 |  |  |  |  | int |  | INV002_TotalEnergyYield | 326
T392 | INV002_TransientACOvervoltage | IEC104 |  |  |  |  | Bool |  | INV002_TransientACOvervoltage | 327
T393 | INV002_UnstableGridFrequency | IEC104 |  |  |  |  | Bool |  | INV002_UnstableGridFrequency | 328
T394 | INV002_UpgradeFailed | IEC104 |  |  |  |  | Bool |  | INV002_UpgradeFailed | 329
T395 | INV002_WarningActive | IEC104 |  |  |  |  | Bool |  | INV002_WarningActive | 330
T396 | BRK_K01 | modbus | MB1 | 4x | 160 | 1 | Bool |  | BRK_01
T397 | BRK_K02 | modbus | MB1 | 4x | 161 | 1 | Bool |  | BRK_02
T398 | BRK_K03 | modbus | MB1 | 4x | 162 | 1 | Bool |  | BRK_03
T399 | BRK_K04 | modbus | MB1 | 4x | 163 | 1 | Bool |  | BRK_04
T400 | BRK_K05 | modbus | MB1 | 4x | 164 | 1 | Bool |  | BRK_05
T401 | BRK_K06 | modbus | MB1 | 4x | 165 | 1 | Bool |  | BRK_06
T402 | BRK_K07 | modbus | MB1 | 4x | 166 | 1 | Bool |  | BRK_07
T403 | BRK_K08 | modbus | MB1 | 4x | 167 | 1 | Bool |  | BRK_08
T404 | BRK_K09 | modbus | MB1 | 4x | 168 | 1 | Bool |  | BRK_09
T405 | BRK_K10 | modbus | MB1 | 4x | 169 | 1 | Bool |  | BRK_10
T406 | BRK_K11 | modbus | MB1 | 4x | 170 | 1 | Bool |  | BRK_11
T407 | BRK_K12 | modbus | MB1 | 4x | 171 | 1 | Bool |  | BRK_12
T408 | BRK_K13 | modbus | MB1 | 4x | 172 | 1 | Bool |  | BRK_13
T409 | BRK_K14 | modbus | MB1 | 4x | 173 | 1 | Bool |  | BRK_14
T410 | BRKE_K01 | modbus | MB1 | 4x | 174 | 1 | Bool |  | BRKE_K01
T411 | BRKE_K02 | modbus | MB1 | 4x | 175 | 1 | Bool |  | BRKE_K02
T412 | BRKE_K03 | modbus | MB1 | 4x | 176 | 1 | Bool |  | BRKE_K03
T413 | BRKE_K04 | modbus | MB1 | 4x | 177 | 1 | Bool |  | BRKE_K04
T414 | BRKE_K05 | modbus | MB1 | 4x | 178 | 1 | Bool |  | BRKE_K05
T415 | BRKE_K06 | modbus | MB1 | 4x | 179 | 1 | Bool |  | BRKE_K06
T416 | BRKE_K07 | modbus | MB1 | 4x | 180 | 1 | Bool |  | BRKE_K07
T417 | BRKE_K08 | modbus | MB1 | 4x | 181 | 1 | Bool |  | BRKE_K08
T418 | BRKE_K09 | modbus | MB1 | 4x | 182 | 1 | Bool |  | BRKE_K09
T419 | BRKE_K10 | modbus | MB1 | 4x | 183 | 1 | Bool |  | BRKE_K10
T420 | BRKE_K11 | modbus | MB1 | 4x | 184 | 1 | Bool |  | BRKE_K11
T421 | BRKE_K12 | modbus | MB1 | 4x | 185 | 1 | Bool |  | BRKE_K12
T422 | BRKE_K13 | modbus | MB1 | 4x | 186 | 1 | Bool |  | BRKE_K13
T423 | BRKE_K14 | modbus | MB1 | 4x | 187 | 1 | Bool |  | BRKE_K14
T424 | PR001_CircuitBreakerClosePosition | modbus | MB1 | 4x | 188 | 1 | Bool |  | PR001_CircuitBreakerClosePosition
T425 | PR001_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 189 | 1 | Bool |  | PR001_CircuitBreakerFailureFailExternalTrip
T426 | PR001_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 190 | 1 | Bool |  | PR001_CircuitBreakerFailureInternalReTrip
T427 | PR001_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 191 | 1 | Bool |  | PR001_CircuitBreakerFailureTimerRunning
T428 | PR001_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 192 | 1 | Bool |  | PR001_CircuitBreakerOpenPosition
T429 | PR001_ACTripFlag | modbus | MB1 | 4x | 193 | 1 | Bool |  | PR001_ACTripFlag
T430 | PR001_DCTripFlag | modbus | MB1 | 4x | 194 | 1 | Bool |  | PR001_DCTripFlag
T431 | PR001_MCBTripFlag | modbus | MB1 | 4x | 195 | 1 | Bool |  | PR001_MCBTripFlag
T432 | PR001_RelayTripFlag | modbus | MB1 | 4x | 196 | 1 | Bool |  | PR001_RelayTripFlag
T433 | PR001_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 197 | 1 | Bool |  | PR001_CircuitBreakerTripMaster1
T434 | PR001_DirectionalEarthFault | modbus | MB1 | 4x | 198 | 1 | Bool |  | PR001_DirectionalEarthFault
T435 | PR001_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 199 | 1 | Bool |  | PR001_DirectionalOvercurrentHighStage
T436 | PR001_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 200 | 1 | Bool |  | PR001_DirectionalOvercurrentLowStage
T437 | PR001_EarthSwitchClosePosition | modbus | MB1 | 4x | 201 | 1 | Bool |  | PR001_EarthSwitchClosePosition
T438 | PR001_EarthSwitchOpenPosition | modbus | MB1 | 4x | 202 | 1 | Bool |  | PR001_EarthSwitchOpenPosition
T439 | PR001_InstantaneousOvercurrent | modbus | MB1 | 4x | 203 | 1 | Bool |  | PR001_InstantaneousOvercurrent
T440 | PR001_LockoutRelayStatus | modbus | MB1 | 4x | 204 | 1 | Bool |  | PR001_LockoutRelayStatus
T441 | PR001_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 205 | 1 | Bool |  | PR001_NegativeSequenceOvercurrentProtection
T442 | PR001_ProtectionRelayStatus | modbus | MB1 | 4x | 206 | 1 | Bool |  | PR001_ProtectionRelayStatus
T443 | PR001_RemoteLocalControlStatus | modbus | MB1 | 4x | 207 | 1 | Bool |  | PR001_RemoteLocalControlStatus
T444 | PR001_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 208 | 1 | Bool |  | PR001_RemoteLocalControlStatusR129_02
T445 | PR001_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 209 | 1 | Bool |  | PR001_SpringChargedDischargedAlarm
T446 | PR001_TestServicePositionStatus | modbus | MB1 | 4x | 210 | 1 | Bool |  | PR001_TestServicePositionStatus
T447 | PR001_TimeOvercurrent | modbus | MB1 | 4x | 211 | 1 | Bool |  | PR001_TimeOvercurrent
T448 | PR002_CircuitBreakerClosePosition | modbus | MB1 | 4x | 212 | 1 | Bool |  | PR002_CircuitBreakerClosePosition
T449 | PR002_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 213 | 1 | Bool |  | PR002_CircuitBreakerFailureFailExternalTrip
T450 | PR002_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 214 | 1 | Bool |  | PR002_CircuitBreakerFailureInternalReTrip
T451 | PR002_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 215 | 1 | Bool |  | PR002_CircuitBreakerFailureTimerRunning
T452 | PR002_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 216 | 1 | Bool |  | PR002_CircuitBreakerOpenPosition
T453 | PR002_ACTripFlag | modbus | MB1 | 4x | 217 | 1 | Bool |  | PR002_ACTripFlag
T454 | PR002_DCTripFlag | modbus | MB1 | 4x | 218 | 1 | Bool |  | PR002_DCTripFlag
T455 | PR002_MCBTripFlag | modbus | MB1 | 4x | 219 | 1 | Bool |  | PR002_MCBTripFlag
T456 | PR002_RelayTripFlag | modbus | MB1 | 4x | 220 | 1 | Bool |  | PR002_RelayTripFlag
T457 | PR002_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 221 | 1 | Bool |  | PR002_CircuitBreakerTripMaster1
T458 | PR002_DirectionalEarthFault | modbus | MB1 | 4x | 222 | 1 | Bool |  | PR002_DirectionalEarthFault
T459 | PR002_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 223 | 1 | Bool |  | PR002_DirectionalOvercurrentHighStage
T460 | PR002_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 224 | 1 | Bool |  | PR002_DirectionalOvercurrentLowStage
T461 | PR002_EarthSwitchClosePosition | modbus | MB1 | 4x | 225 | 1 | Bool |  | PR002_EarthSwitchClosePosition
T462 | PR002_EarthSwitchOpenPosition | modbus | MB1 | 4x | 226 | 1 | Bool |  | PR002_EarthSwitchOpenPosition
T463 | PR002_InstantaneousOvercurrent | modbus | MB1 | 4x | 227 | 1 | Bool |  | PR002_InstantaneousOvercurrent
T464 | PR002_LockoutRelayStatus | modbus | MB1 | 4x | 228 | 1 | Bool |  | PR002_LockoutRelayStatus
T465 | PR002_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 229 | 1 | Bool |  | PR002_NegativeSequenceOvercurrentProtection
T466 | PR002_ProtectionRelayStatus | modbus | MB1 | 4x | 230 | 1 | Bool |  | PR002_ProtectionRelayStatus
T467 | PR002_RemoteLocalControlStatus | modbus | MB1 | 4x | 231 | 1 | Bool |  | PR002_RemoteLocalControlStatus
T468 | PR002_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 232 | 1 | Bool |  | PR002_RemoteLocalControlStatusR129_02
T469 | PR002_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 233 | 1 | Bool |  | PR002_SpringChargedDischargedAlarm
T470 | PR002_TestServicePositionStatus | modbus | MB1 | 4x | 234 | 1 | Bool |  | PR002_TestServicePositionStatus
T471 | PR002_TimeOvercurrent | modbus | MB1 | 4x | 235 | 1 | Bool |  | PR002_TimeOvercurrent
T472 | PR003_CircuitBreakerClosePosition | modbus | MB1 | 4x | 236 | 1 | Bool |  | PR003_CircuitBreakerClosePosition
T473 | PR003_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 237 | 1 | Bool |  | PR003_CircuitBreakerFailureFailExternalTrip
T474 | PR003_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 238 | 1 | Bool |  | PR003_CircuitBreakerFailureInternalReTrip
T475 | PR003_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 239 | 1 | Bool |  | PR003_CircuitBreakerFailureTimerRunning
T476 | PR003_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 240 | 1 | Bool |  | PR003_CircuitBreakerOpenPosition
T477 | PR003_ACTripFlag | modbus | MB1 | 4x | 241 | 1 | Bool |  | PR003_ACTripFlag
T478 | PR003_DCTripFlag | modbus | MB1 | 4x | 242 | 1 | Bool |  | PR003_DCTripFlag
T479 | PR003_MCBTripFlag | modbus | MB1 | 4x | 243 | 1 | Bool |  | PR003_MCBTripFlag
T480 | PR003_RelayTripFlag | modbus | MB1 | 4x | 244 | 1 | Bool |  | PR003_RelayTripFlag
T481 | PR003_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 245 | 1 | Bool |  | PR003_CircuitBreakerTripMaster1
T482 | PR003_DirectionalEarthFault | modbus | MB1 | 4x | 246 | 1 | Bool |  | PR003_DirectionalEarthFault
T483 | PR003_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 247 | 1 | Bool |  | PR003_DirectionalOvercurrentHighStage
T484 | PR003_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 248 | 1 | Bool |  | PR003_DirectionalOvercurrentLowStage
T485 | PR003_EarthSwitchClosePosition | modbus | MB1 | 4x | 249 | 1 | Bool |  | PR003_EarthSwitchClosePosition
T486 | PR003_EarthSwitchOpenPosition | modbus | MB1 | 4x | 250 | 1 | Bool |  | PR003_EarthSwitchOpenPosition
T487 | PR003_InstantaneousOvercurrent | modbus | MB1 | 4x | 251 | 1 | Bool |  | PR003_InstantaneousOvercurrent
T488 | PR003_LockoutRelayStatus | modbus | MB1 | 4x | 252 | 1 | Bool |  | PR003_LockoutRelayStatus
T489 | PR003_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 253 | 1 | Bool |  | PR003_NegativeSequenceOvercurrentProtection
T490 | PR003_ProtectionRelayStatus | modbus | MB1 | 4x | 254 | 1 | Bool |  | PR003_ProtectionRelayStatus
T491 | PR003_RemoteLocalControlStatus | modbus | MB1 | 4x | 255 | 1 | Bool |  | PR003_RemoteLocalControlStatus
T492 | PR003_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 256 | 1 | Bool |  | PR003_RemoteLocalControlStatusR129_02
T493 | PR003_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 257 | 1 | Bool |  | PR003_SpringChargedDischargedAlarm
T494 | PR003_TestServicePositionStatus | modbus | MB1 | 4x | 258 | 1 | Bool |  | PR003_TestServicePositionStatus
T495 | PR003_TimeOvercurrent | modbus | MB1 | 4x | 259 | 1 | Bool |  | PR003_TimeOvercurrent
T496 | PR004_CircuitBreakerClosePosition | modbus | MB1 | 4x | 260 | 1 | Bool |  | PR004_CircuitBreakerClosePosition
T497 | PR004_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 261 | 1 | Bool |  | PR004_CircuitBreakerFailureFailExternalTrip
T498 | PR004_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 262 | 1 | Bool |  | PR004_CircuitBreakerFailureInternalReTrip
T499 | PR004_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 263 | 1 | Bool |  | PR004_CircuitBreakerFailureTimerRunning
T500 | PR004_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 264 | 1 | Bool |  | PR004_CircuitBreakerOpenPosition
T501 | PR004_ACTripFlag | modbus | MB1 | 4x | 265 | 1 | Bool |  | PR004_ACTripFlag
T502 | PR004_DCTripFlag | modbus | MB1 | 4x | 266 | 1 | Bool |  | PR004_DCTripFlag
T503 | PR004_MCBTripFlag | modbus | MB1 | 4x | 267 | 1 | Bool |  | PR004_MCBTripFlag
T504 | PR004_RelayTripFlag | modbus | MB1 | 4x | 268 | 1 | Bool |  | PR004_RelayTripFlag
T505 | PR004_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 269 | 1 | Bool |  | PR004_CircuitBreakerTripMaster1
T506 | PR004_DirectionalEarthFault | modbus | MB1 | 4x | 270 | 1 | Bool |  | PR004_DirectionalEarthFault
T507 | PR004_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 271 | 1 | Bool |  | PR004_DirectionalOvercurrentHighStage
T508 | PR004_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 272 | 1 | Bool |  | PR004_DirectionalOvercurrentLowStage
T509 | PR004_EarthSwitchClosePosition | modbus | MB1 | 4x | 273 | 1 | Bool |  | PR004_EarthSwitchClosePosition
T510 | PR004_EarthSwitchOpenPosition | modbus | MB1 | 4x | 274 | 1 | Bool |  | PR004_EarthSwitchOpenPosition
T511 | PR004_InstantaneousOvercurrent | modbus | MB1 | 4x | 275 | 1 | Bool |  | PR004_InstantaneousOvercurrent
T512 | PR004_LockoutRelayStatus | modbus | MB1 | 4x | 276 | 1 | Bool |  | PR004_LockoutRelayStatus
T513 | PR004_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 277 | 1 | Bool |  | PR004_NegativeSequenceOvercurrentProtection
T514 | PR004_ProtectionRelayStatus | modbus | MB1 | 4x | 278 | 1 | Bool |  | PR004_ProtectionRelayStatus
T515 | PR004_RemoteLocalControlStatus | modbus | MB1 | 4x | 279 | 1 | Bool |  | PR004_RemoteLocalControlStatus
T516 | PR004_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 280 | 1 | Bool |  | PR004_RemoteLocalControlStatusR129_02
T517 | PR004_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 281 | 1 | Bool |  | PR004_SpringChargedDischargedAlarm
T518 | PR004_TestServicePositionStatus | modbus | MB1 | 4x | 282 | 1 | Bool |  | PR004_TestServicePositionStatus
T519 | PR004_TimeOvercurrent | modbus | MB1 | 4x | 283 | 1 | Bool |  | PR004_TimeOvercurrent
T520 | PR005_CircuitBreakerClosePosition | modbus | MB1 | 4x | 284 | 1 | Bool |  | PR005_CircuitBreakerClosePosition
T521 | PR005_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 285 | 1 | Bool |  | PR005_CircuitBreakerFailureFailExternalTrip
T522 | PR005_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 286 | 1 | Bool |  | PR005_CircuitBreakerFailureInternalReTrip
T523 | PR005_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 287 | 1 | Bool |  | PR005_CircuitBreakerFailureTimerRunning
T524 | PR005_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 288 | 1 | Bool |  | PR005_CircuitBreakerOpenPosition
T525 | PR005_ACTripFlag | modbus | MB1 | 4x | 289 | 1 | Bool |  | PR005_ACTripFlag
T526 | PR005_DCTripFlag | modbus | MB1 | 4x | 290 | 1 | Bool |  | PR005_DCTripFlag
T527 | PR005_MCBTripFlag | modbus | MB1 | 4x | 291 | 1 | Bool |  | PR005_MCBTripFlag
T528 | PR005_RelayTripFlag | modbus | MB1 | 4x | 292 | 1 | Bool |  | PR005_RelayTripFlag
T529 | PR005_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 293 | 1 | Bool |  | PR005_CircuitBreakerTripMaster1
T530 | PR005_DirectionalEarthFault | modbus | MB1 | 4x | 294 | 1 | Bool |  | PR005_DirectionalEarthFault
T531 | PR005_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 295 | 1 | Bool |  | PR005_DirectionalOvercurrentHighStage
T532 | PR005_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 296 | 1 | Bool |  | PR005_DirectionalOvercurrentLowStage
T533 | PR005_EarthSwitchClosePosition | modbus | MB1 | 4x | 297 | 1 | Bool |  | PR005_EarthSwitchClosePosition
T534 | PR005_EarthSwitchOpenPosition | modbus | MB1 | 4x | 298 | 1 | Bool |  | PR005_EarthSwitchOpenPosition
T535 | PR005_InstantaneousOvercurrent | modbus | MB1 | 4x | 299 | 1 | Bool |  | PR005_InstantaneousOvercurrent
T536 | PR005_LockoutRelayStatus | modbus | MB1 | 4x | 300 | 1 | Bool |  | PR005_LockoutRelayStatus
T537 | PR005_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 301 | 1 | Bool |  | PR005_NegativeSequenceOvercurrentProtection
T538 | PR005_ProtectionRelayStatus | modbus | MB1 | 4x | 302 | 1 | Bool |  | PR005_ProtectionRelayStatus
T539 | PR005_RemoteLocalControlStatus | modbus | MB1 | 4x | 303 | 1 | Bool |  | PR005_RemoteLocalControlStatus
T540 | PR005_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 304 | 1 | Bool |  | PR005_RemoteLocalControlStatusR129_02
T541 | PR005_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 305 | 1 | Bool |  | PR005_SpringChargedDischargedAlarm
T542 | PR005_TestServicePositionStatus | modbus | MB1 | 4x | 306 | 1 | Bool |  | PR005_TestServicePositionStatus
T543 | PR005_TimeOvercurrent | modbus | MB1 | 4x | 307 | 1 | Bool |  | PR005_TimeOvercurrent
T544 | PR006_CircuitBreakerClosePosition | modbus | MB1 | 4x | 308 | 1 | Bool |  | PR006_CircuitBreakerClosePosition
T545 | PR006_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 309 | 1 | Bool |  | PR006_CircuitBreakerFailureFailExternalTrip
T546 | PR006_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 310 | 1 | Bool |  | PR006_CircuitBreakerFailureInternalReTrip
T547 | PR006_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 311 | 1 | Bool |  | PR006_CircuitBreakerFailureTimerRunning
T548 | PR006_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 312 | 1 | Bool |  | PR006_CircuitBreakerOpenPosition
T549 | PR006_ACTripFlag | modbus | MB1 | 4x | 313 | 1 | Bool |  | PR006_ACTripFlag
T550 | PR006_DCTripFlag | modbus | MB1 | 4x | 314 | 1 | Bool |  | PR006_DCTripFlag
T551 | PR006_MCBTripFlag | modbus | MB1 | 4x | 315 | 1 | Bool |  | PR006_MCBTripFlag
T552 | PR006_RelayTripFlag | modbus | MB1 | 4x | 316 | 1 | Bool |  | PR006_RelayTripFlag
T553 | PR006_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 317 | 1 | Bool |  | PR006_CircuitBreakerTripMaster1
T554 | PR006_DirectionalEarthFault | modbus | MB1 | 4x | 318 | 1 | Bool |  | PR006_DirectionalEarthFault
T555 | PR006_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 319 | 1 | Bool |  | PR006_DirectionalOvercurrentHighStage
T556 | PR006_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 320 | 1 | Bool |  | PR006_DirectionalOvercurrentLowStage
T557 | PR006_EarthSwitchClosePosition | modbus | MB1 | 4x | 321 | 1 | Bool |  | PR006_EarthSwitchClosePosition
T558 | PR006_EarthSwitchOpenPosition | modbus | MB1 | 4x | 322 | 1 | Bool |  | PR006_EarthSwitchOpenPosition
T559 | PR006_InstantaneousOvercurrent | modbus | MB1 | 4x | 323 | 1 | Bool |  | PR006_InstantaneousOvercurrent
T560 | PR006_LockoutRelayStatus | modbus | MB1 | 4x | 324 | 1 | Bool |  | PR006_LockoutRelayStatus
T561 | PR006_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 325 | 1 | Bool |  | PR006_NegativeSequenceOvercurrentProtection
T562 | PR006_ProtectionRelayStatus | modbus | MB1 | 4x | 326 | 1 | Bool |  | PR006_ProtectionRelayStatus
T563 | PR006_RemoteLocalControlStatus | modbus | MB1 | 4x | 327 | 1 | Bool |  | PR006_RemoteLocalControlStatus
T564 | PR006_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 328 | 1 | Bool |  | PR006_RemoteLocalControlStatusR129_02
T565 | PR006_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 329 | 1 | Bool |  | PR006_SpringChargedDischargedAlarm
T566 | PR006_TestServicePositionStatus | modbus | MB1 | 4x | 330 | 1 | Bool |  | PR006_TestServicePositionStatus
T567 | PR006_TimeOvercurrent | modbus | MB1 | 4x | 331 | 1 | Bool |  | PR006_TimeOvercurrent
T568 | PR007_CircuitBreakerClosePosition | modbus | MB1 | 4x | 332 | 1 | Bool |  | PR007_CircuitBreakerClosePosition
T569 | PR007_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 333 | 1 | Bool |  | PR007_CircuitBreakerFailureFailExternalTrip
T570 | PR007_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 334 | 1 | Bool |  | PR007_CircuitBreakerFailureInternalReTrip
T571 | PR007_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 335 | 1 | Bool |  | PR007_CircuitBreakerFailureTimerRunning
T572 | PR007_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 336 | 1 | Bool |  | PR007_CircuitBreakerOpenPosition
T573 | PR007_ACTripFlag | modbus | MB1 | 4x | 337 | 1 | Bool |  | PR007_ACTripFlag
T574 | PR007_DCTripFlag | modbus | MB1 | 4x | 338 | 1 | Bool |  | PR007_DCTripFlag
T575 | PR007_MCBTripFlag | modbus | MB1 | 4x | 339 | 1 | Bool |  | PR007_MCBTripFlag
T576 | PR007_RelayTripFlag | modbus | MB1 | 4x | 340 | 1 | Bool |  | PR007_RelayTripFlag
T577 | PR007_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 341 | 1 | Bool |  | PR007_CircuitBreakerTripMaster1
T578 | PR007_DirectionalEarthFault | modbus | MB1 | 4x | 342 | 1 | Bool |  | PR007_DirectionalEarthFault
T579 | PR007_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 343 | 1 | Bool |  | PR007_DirectionalOvercurrentHighStage
T580 | PR007_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 344 | 1 | Bool |  | PR007_DirectionalOvercurrentLowStage
T581 | PR007_EarthSwitchClosePosition | modbus | MB1 | 4x | 345 | 1 | Bool |  | PR007_EarthSwitchClosePosition
T582 | PR007_EarthSwitchOpenPosition | modbus | MB1 | 4x | 346 | 1 | Bool |  | PR007_EarthSwitchOpenPosition
T583 | PR007_InstantaneousOvercurrent | modbus | MB1 | 4x | 347 | 1 | Bool |  | PR007_InstantaneousOvercurrent
T584 | PR007_LockoutRelayStatus | modbus | MB1 | 4x | 348 | 1 | Bool |  | PR007_LockoutRelayStatus
T585 | PR007_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 349 | 1 | Bool |  | PR007_NegativeSequenceOvercurrentProtection
T586 | PR007_ProtectionRelayStatus | modbus | MB1 | 4x | 350 | 1 | Bool |  | PR007_ProtectionRelayStatus
T587 | PR007_RemoteLocalControlStatus | modbus | MB1 | 4x | 351 | 1 | Bool |  | PR007_RemoteLocalControlStatus
T588 | PR007_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 352 | 1 | Bool |  | PR007_RemoteLocalControlStatusR129_02
T589 | PR007_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 353 | 1 | Bool |  | PR007_SpringChargedDischargedAlarm
T590 | PR007_TestServicePositionStatus | modbus | MB1 | 4x | 354 | 1 | Bool |  | PR007_TestServicePositionStatus
T591 | PR007_TimeOvercurrent | modbus | MB1 | 4x | 355 | 1 | Bool |  | PR007_TimeOvercurrent
T592 | PR008_CircuitBreakerClosePosition | modbus | MB1 | 4x | 356 | 1 | Bool |  | PR008_CircuitBreakerClosePosition
T593 | PR008_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 357 | 1 | Bool |  | PR008_CircuitBreakerFailureFailExternalTrip
T594 | PR008_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 358 | 1 | Bool |  | PR008_CircuitBreakerFailureInternalReTrip
T595 | PR008_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 359 | 1 | Bool |  | PR008_CircuitBreakerFailureTimerRunning
T596 | PR008_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 360 | 1 | Bool |  | PR008_CircuitBreakerOpenPosition
T597 | PR008_ACTripFlag | modbus | MB1 | 4x | 361 | 1 | Bool |  | PR008_ACTripFlag
T598 | PR008_DCTripFlag | modbus | MB1 | 4x | 362 | 1 | Bool |  | PR008_DCTripFlag
T599 | PR008_MCBTripFlag | modbus | MB1 | 4x | 363 | 1 | Bool |  | PR008_MCBTripFlag
T600 | PR008_RelayTripFlag | modbus | MB1 | 4x | 364 | 1 | Bool |  | PR008_RelayTripFlag
T601 | PR008_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 365 | 1 | Bool |  | PR008_CircuitBreakerTripMaster1
T602 | PR008_DirectionalEarthFault | modbus | MB1 | 4x | 366 | 1 | Bool |  | PR008_DirectionalEarthFault
T603 | PR008_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 367 | 1 | Bool |  | PR008_DirectionalOvercurrentHighStage
T604 | PR008_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 368 | 1 | Bool |  | PR008_DirectionalOvercurrentLowStage
T605 | PR008_EarthSwitchClosePosition | modbus | MB1 | 4x | 369 | 1 | Bool |  | PR008_EarthSwitchClosePosition
T606 | PR008_EarthSwitchOpenPosition | modbus | MB1 | 4x | 370 | 1 | Bool |  | PR008_EarthSwitchOpenPosition
T607 | PR008_InstantaneousOvercurrent | modbus | MB1 | 4x | 371 | 1 | Bool |  | PR008_InstantaneousOvercurrent
T608 | PR008_LockoutRelayStatus | modbus | MB1 | 4x | 372 | 1 | Bool |  | PR008_LockoutRelayStatus
T609 | PR008_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 373 | 1 | Bool |  | PR008_NegativeSequenceOvercurrentProtection
T610 | PR008_ProtectionRelayStatus | modbus | MB1 | 4x | 374 | 1 | Bool |  | PR008_ProtectionRelayStatus
T611 | PR008_RemoteLocalControlStatus | modbus | MB1 | 4x | 375 | 1 | Bool |  | PR008_RemoteLocalControlStatus
T612 | PR008_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 376 | 1 | Bool |  | PR008_RemoteLocalControlStatusR129_02
T613 | PR008_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 377 | 1 | Bool |  | PR008_SpringChargedDischargedAlarm
T614 | PR008_TestServicePositionStatus | modbus | MB1 | 4x | 378 | 1 | Bool |  | PR008_TestServicePositionStatus
T615 | PR008_TimeOvercurrent | modbus | MB1 | 4x | 379 | 1 | Bool |  | PR008_TimeOvercurrent
T616 | PR009_CircuitBreakerClosePosition | modbus | MB1 | 4x | 380 | 1 | Bool |  | PR009_CircuitBreakerClosePosition
T617 | PR009_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 381 | 1 | Bool |  | PR009_CircuitBreakerFailureFailExternalTrip
T618 | PR009_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 382 | 1 | Bool |  | PR009_CircuitBreakerFailureInternalReTrip
T619 | PR009_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 383 | 1 | Bool |  | PR009_CircuitBreakerFailureTimerRunning
T620 | PR009_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 384 | 1 | Bool |  | PR009_CircuitBreakerOpenPosition
T621 | PR009_ACTripFlag | modbus | MB1 | 4x | 385 | 1 | Bool |  | PR009_ACTripFlag
T622 | PR009_DCTripFlag | modbus | MB1 | 4x | 386 | 1 | Bool |  | PR009_DCTripFlag
T623 | PR009_MCBTripFlag | modbus | MB1 | 4x | 387 | 1 | Bool |  | PR009_MCBTripFlag
T624 | PR009_RelayTripFlag | modbus | MB1 | 4x | 388 | 1 | Bool |  | PR009_RelayTripFlag
T625 | PR009_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 389 | 1 | Bool |  | PR009_CircuitBreakerTripMaster1
T626 | PR009_DirectionalEarthFault | modbus | MB1 | 4x | 390 | 1 | Bool |  | PR009_DirectionalEarthFault
T627 | PR009_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 391 | 1 | Bool |  | PR009_DirectionalOvercurrentHighStage
T628 | PR009_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 392 | 1 | Bool |  | PR009_DirectionalOvercurrentLowStage
T629 | PR009_EarthSwitchClosePosition | modbus | MB1 | 4x | 393 | 1 | Bool |  | PR009_EarthSwitchClosePosition
T630 | PR009_EarthSwitchOpenPosition | modbus | MB1 | 4x | 394 | 1 | Bool |  | PR009_EarthSwitchOpenPosition
T631 | PR009_InstantaneousOvercurrent | modbus | MB1 | 4x | 395 | 1 | Bool |  | PR009_InstantaneousOvercurrent
T632 | PR009_LockoutRelayStatus | modbus | MB1 | 4x | 396 | 1 | Bool |  | PR009_LockoutRelayStatus
T633 | PR009_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 397 | 1 | Bool |  | PR009_NegativeSequenceOvercurrentProtection
T634 | PR009_ProtectionRelayStatus | modbus | MB1 | 4x | 398 | 1 | Bool |  | PR009_ProtectionRelayStatus
T635 | PR009_RemoteLocalControlStatus | modbus | MB1 | 4x | 399 | 1 | Bool |  | PR009_RemoteLocalControlStatus
T636 | PR009_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 400 | 1 | Bool |  | PR009_RemoteLocalControlStatusR129_02
T637 | PR009_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 401 | 1 | Bool |  | PR009_SpringChargedDischargedAlarm
T638 | PR009_TestServicePositionStatus | modbus | MB1 | 4x | 402 | 1 | Bool |  | PR009_TestServicePositionStatus
T639 | PR009_TimeOvercurrent | modbus | MB1 | 4x | 403 | 1 | Bool |  | PR009_TimeOvercurrent
T640 | PR010_CircuitBreakerClosePosition | modbus | MB1 | 4x | 404 | 1 | Bool |  | PR010_CircuitBreakerClosePosition
T641 | PR010_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 405 | 1 | Bool |  | PR010_CircuitBreakerFailureFailExternalTrip
T642 | PR010_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 406 | 1 | Bool |  | PR010_CircuitBreakerFailureInternalReTrip
T643 | PR010_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 407 | 1 | Bool |  | PR010_CircuitBreakerFailureTimerRunning
T644 | PR010_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 408 | 1 | Bool |  | PR010_CircuitBreakerOpenPosition
T645 | PR010_ACTripFlag | modbus | MB1 | 4x | 409 | 1 | Bool |  | PR010_ACTripFlag
T646 | PR010_DCTripFlag | modbus | MB1 | 4x | 410 | 1 | Bool |  | PR010_DCTripFlag
T647 | PR010_MCBTripFlag | modbus | MB1 | 4x | 411 | 1 | Bool |  | PR010_MCBTripFlag
T648 | PR010_RelayTripFlag | modbus | MB1 | 4x | 412 | 1 | Bool |  | PR010_RelayTripFlag
T649 | PR010_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 413 | 1 | Bool |  | PR010_CircuitBreakerTripMaster1
T650 | PR010_DirectionalEarthFault | modbus | MB1 | 4x | 414 | 1 | Bool |  | PR010_DirectionalEarthFault
T651 | PR010_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 415 | 1 | Bool |  | PR010_DirectionalOvercurrentHighStage
T652 | PR010_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 416 | 1 | Bool |  | PR010_DirectionalOvercurrentLowStage
T653 | PR010_EarthSwitchClosePosition | modbus | MB1 | 4x | 417 | 1 | Bool |  | PR010_EarthSwitchClosePosition
T654 | PR010_EarthSwitchOpenPosition | modbus | MB1 | 4x | 418 | 1 | Bool |  | PR010_EarthSwitchOpenPosition
T655 | PR010_InstantaneousOvercurrent | modbus | MB1 | 4x | 419 | 1 | Bool |  | PR010_InstantaneousOvercurrent
T656 | PR010_LockoutRelayStatus | modbus | MB1 | 4x | 420 | 1 | Bool |  | PR010_LockoutRelayStatus
T657 | PR010_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 421 | 1 | Bool |  | PR010_NegativeSequenceOvercurrentProtection
T658 | PR010_ProtectionRelayStatus | modbus | MB1 | 4x | 422 | 1 | Bool |  | PR010_ProtectionRelayStatus
T659 | PR010_RemoteLocalControlStatus | modbus | MB1 | 4x | 423 | 1 | Bool |  | PR010_RemoteLocalControlStatus
T660 | PR010_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 424 | 1 | Bool |  | PR010_RemoteLocalControlStatusR129_02
T661 | PR010_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 425 | 1 | Bool |  | PR010_SpringChargedDischargedAlarm
T662 | PR010_TestServicePositionStatus | modbus | MB1 | 4x | 426 | 1 | Bool |  | PR010_TestServicePositionStatus
T663 | PR010_TimeOvercurrent | modbus | MB1 | 4x | 427 | 1 | Bool |  | PR010_TimeOvercurrent
T664 | PR011_CircuitBreakerClosePosition | modbus | MB1 | 4x | 428 | 1 | Bool |  | PR011_CircuitBreakerClosePosition
T665 | PR011_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 429 | 1 | Bool |  | PR011_CircuitBreakerFailureFailExternalTrip
T666 | PR011_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 430 | 1 | Bool |  | PR011_CircuitBreakerFailureInternalReTrip
T667 | PR011_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 431 | 1 | Bool |  | PR011_CircuitBreakerFailureTimerRunning
T668 | PR011_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 432 | 1 | Bool |  | PR011_CircuitBreakerOpenPosition
T669 | PR011_ACTripFlag | modbus | MB1 | 4x | 433 | 1 | Bool |  | PR011_ACTripFlag
T670 | PR011_DCTripFlag | modbus | MB1 | 4x | 434 | 1 | Bool |  | PR011_DCTripFlag
T671 | PR011_MCBTripFlag | modbus | MB1 | 4x | 435 | 1 | Bool |  | PR011_MCBTripFlag
T672 | PR011_RelayTripFlag | modbus | MB1 | 4x | 436 | 1 | Bool |  | PR011_RelayTripFlag
T673 | PR011_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 437 | 1 | Bool |  | PR011_CircuitBreakerTripMaster1
T674 | PR011_DirectionalEarthFault | modbus | MB1 | 4x | 438 | 1 | Bool |  | PR011_DirectionalEarthFault
T675 | PR011_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 439 | 1 | Bool |  | PR011_DirectionalOvercurrentHighStage
T676 | PR011_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 440 | 1 | Bool |  | PR011_DirectionalOvercurrentLowStage
T677 | PR011_EarthSwitchClosePosition | modbus | MB1 | 4x | 441 | 1 | Bool |  | PR011_EarthSwitchClosePosition
T678 | PR011_EarthSwitchOpenPosition | modbus | MB1 | 4x | 442 | 1 | Bool |  | PR011_EarthSwitchOpenPosition
T679 | PR011_InstantaneousOvercurrent | modbus | MB1 | 4x | 443 | 1 | Bool |  | PR011_InstantaneousOvercurrent
T680 | PR011_LockoutRelayStatus | modbus | MB1 | 4x | 444 | 1 | Bool |  | PR011_LockoutRelayStatus
T681 | PR011_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 445 | 1 | Bool |  | PR011_NegativeSequenceOvercurrentProtection
T682 | PR011_ProtectionRelayStatus | modbus | MB1 | 4x | 446 | 1 | Bool |  | PR011_ProtectionRelayStatus
T683 | PR011_RemoteLocalControlStatus | modbus | MB1 | 4x | 447 | 1 | Bool |  | PR011_RemoteLocalControlStatus
T684 | PR011_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 448 | 1 | Bool |  | PR011_RemoteLocalControlStatusR129_02
T685 | PR011_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 449 | 1 | Bool |  | PR011_SpringChargedDischargedAlarm
T686 | PR011_TestServicePositionStatus | modbus | MB1 | 4x | 450 | 1 | Bool |  | PR011_TestServicePositionStatus
T687 | PR011_TimeOvercurrent | modbus | MB1 | 4x | 451 | 1 | Bool |  | PR011_TimeOvercurrent
T688 | PR012_CircuitBreakerClosePosition | modbus | MB1 | 4x | 452 | 1 | Bool |  | PR012_CircuitBreakerClosePosition
T689 | PR012_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 453 | 1 | Bool |  | PR012_CircuitBreakerFailureFailExternalTrip
T690 | PR012_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 454 | 1 | Bool |  | PR012_CircuitBreakerFailureInternalReTrip
T691 | PR012_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 455 | 1 | Bool |  | PR012_CircuitBreakerFailureTimerRunning
T692 | PR012_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 456 | 1 | Bool |  | PR012_CircuitBreakerOpenPosition
T693 | PR012_ACTripFlag | modbus | MB1 | 4x | 457 | 1 | Bool |  | PR012_ACTripFlag
T694 | PR012_DCTripFlag | modbus | MB1 | 4x | 458 | 1 | Bool |  | PR012_DCTripFlag
T695 | PR012_MCBTripFlag | modbus | MB1 | 4x | 459 | 1 | Bool |  | PR012_MCBTripFlag
T696 | PR012_RelayTripFlag | modbus | MB1 | 4x | 460 | 1 | Bool |  | PR012_RelayTripFlag
T697 | PR012_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 461 | 1 | Bool |  | PR012_CircuitBreakerTripMaster1
T698 | PR012_DirectionalEarthFault | modbus | MB1 | 4x | 462 | 1 | Bool |  | PR012_DirectionalEarthFault
T699 | PR012_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 463 | 1 | Bool |  | PR012_DirectionalOvercurrentHighStage
T700 | PR012_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 464 | 1 | Bool |  | PR012_DirectionalOvercurrentLowStage
T701 | PR012_EarthSwitchClosePosition | modbus | MB1 | 4x | 465 | 1 | Bool |  | PR012_EarthSwitchClosePosition
T702 | PR012_EarthSwitchOpenPosition | modbus | MB1 | 4x | 466 | 1 | Bool |  | PR012_EarthSwitchOpenPosition
T703 | PR012_InstantaneousOvercurrent | modbus | MB1 | 4x | 467 | 1 | Bool |  | PR012_InstantaneousOvercurrent
T704 | PR012_LockoutRelayStatus | modbus | MB1 | 4x | 468 | 1 | Bool |  | PR012_LockoutRelayStatus
T705 | PR012_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 469 | 1 | Bool |  | PR012_NegativeSequenceOvercurrentProtection
T706 | PR012_ProtectionRelayStatus | modbus | MB1 | 4x | 470 | 1 | Bool |  | PR012_ProtectionRelayStatus
T707 | PR012_RemoteLocalControlStatus | modbus | MB1 | 4x | 471 | 1 | Bool |  | PR012_RemoteLocalControlStatus
T708 | PR012_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 472 | 1 | Bool |  | PR012_RemoteLocalControlStatusR129_02
T709 | PR012_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 473 | 1 | Bool |  | PR012_SpringChargedDischargedAlarm
T710 | PR012_TestServicePositionStatus | modbus | MB1 | 4x | 474 | 1 | Bool |  | PR012_TestServicePositionStatus
T711 | PR012_TimeOvercurrent | modbus | MB1 | 4x | 475 | 1 | Bool |  | PR012_TimeOvercurrent
T712 | PR013_CircuitBreakerClosePosition | modbus | MB1 | 4x | 196.0 | 1 | Bool |  | PR013_CircuitBreakerClosePosition
T713 | PR013_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 181.12 | 1 | Bool |  | PR013_CircuitBreakerFailureFailExternalTrip
T714 | PR013_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 180.8 | 1 | Bool |  | PR013_CircuitBreakerFailureInternalReTrip
T715 | PR013_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 176.14 | 1 | Bool |  | PR013_CircuitBreakerFailureTimerRunning
T716 | PR013_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 177.0 | 1 | Bool |  | PR013_CircuitBreakerOpenPosition
T717 | PR013_ACTripFlag | modbus | MB1 | 4x | 176.12 | 1 | Bool |  | PR013_ACTripFlag
T718 | PR013_DCTripFlag | modbus | MB1 | 4x | 189.1 | 1 | Bool |  | PR013_DCTripFlag
T719 | PR013_MCBTripFlag | modbus | MB1 | 4x | 188.06 | 1 | Bool |  | PR013_MCBTripFlag
T720 | PR013_RelayTripFlag | modbus | MB1 | 4x | 182.1 | 1 | Bool |  | PR013_RelayTripFlag
T721 | PR013_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 191.04 | 1 | Bool |  | PR013_CircuitBreakerTripMaster1
T722 | PR013_DirectionalEarthFault | modbus | MB1 | 4x | 175.04 | 1 | Bool |  | PR013_DirectionalEarthFault
T723 | PR013_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 175.05 | 1 | Bool |  | PR013_DirectionalOvercurrentHighStage
T724 | PR013_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 171.06 | 1 | Bool |  | PR013_DirectionalOvercurrentLowStage
T725 | PR013_EarthSwitchClosePosition | modbus | MB1 | 4x | 175.01 | 1 | Bool |  | PR013_EarthSwitchClosePosition
T726 | PR013_EarthSwitchOpenPosition | modbus | MB1 | 4x | 175.02 | 1 | Bool |  | PR013_EarthSwitchOpenPosition
T727 | PR013_InstantaneousOvercurrent | modbus | MB1 | 4x | 128.0 | 1 | Bool |  | PR013_InstantaneousOvercurrent
T728 | PR013_LockoutRelayStatus | modbus | MB1 | 4x | 170.0 | 1 | Bool |  | PR013_LockoutRelayStatus
T729 | PR013_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 129.02 | 1 | Bool |  | PR013_NegativeSequenceOvercurrentProtection
T730 | PR013_ProtectionRelayStatus | modbus | MB1 | 4x | 178.02 | 1 | Bool |  | PR013_ProtectionRelayStatus
T731 | PR013_RemoteLocalControlStatus | modbus | MB1 | 4x | 129.0 | 1 | Bool |  | PR013_RemoteLocalControlStatus
T732 | PR013_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x |  | 1 | Bool |  | PR013_RemoteLocalControlStatusR129_02
T733 | PR013_SpringChargedDischargedAlarm | modbus | MB1 | 4x |  | 1 | Bool |  | PR013_SpringChargedDischargedAlarm
T734 | PR013_TestServicePositionStatus | modbus | MB1 | 4x |  | 1 | Bool |  | PR013_TestServicePositionStatus
T735 | PR013_TimeOvercurrent | modbus | MB1 | 4x |  | 1 | Bool |  | PR013_TimeOvercurrent
T736 | PR014_CircuitBreakerClosePosition | modbus | MB1 | 4x | 296 | 1 | Bool |  | PR014_CircuitBreakerClosePosition
T737 | PR014_CircuitBreakerFailureFailExternalTrip | modbus | MB1 | 4x | 281.12 | 1 | Bool |  | PR014_CircuitBreakerFailureFailExternalTrip
T738 | PR014_CircuitBreakerFailureInternalReTrip | modbus | MB1 | 4x | 280.8 | 1 | Bool |  | PR014_CircuitBreakerFailureInternalReTrip
T739 | PR014_CircuitBreakerFailureTimerRunning | modbus | MB1 | 4x | 276.14 | 1 | Bool |  | PR014_CircuitBreakerFailureTimerRunning
T740 | PR014_CircuitBreakerOpenPosition | modbus | MB1 | 4x | 277 | 1 | Bool |  | PR014_CircuitBreakerOpenPosition
T741 | PR014_ACTripFlag | modbus | MB1 | 4x | 276.12 | 1 | Bool |  | PR014_ACTripFlag
T742 | PR014_DCTripFlag | modbus | MB1 | 4x | 289.1 | 1 | Bool |  | PR014_DCTripFlag
T743 | PR014_MCBTripFlag | modbus | MB1 | 4x | 288.06 | 1 | Bool |  | PR014_MCBTripFlag
T744 | PR014_RelayTripFlag | modbus | MB1 | 4x | 282.1 | 1 | Bool |  | PR014_RelayTripFlag
T745 | PR014_CircuitBreakerTripMaster1 | modbus | MB1 | 4x | 291.04 | 1 | Bool |  | PR014_CircuitBreakerTripMaster1
T746 | PR014_DirectionalEarthFault | modbus | MB1 | 4x | 275.04 | 1 | Bool |  | PR014_DirectionalEarthFault
T747 | PR014_DirectionalOvercurrentHighStage | modbus | MB1 | 4x | 275.05 | 1 | Bool |  | PR014_DirectionalOvercurrentHighStage
T748 | PR014_DirectionalOvercurrentLowStage | modbus | MB1 | 4x | 271.06 | 1 | Bool |  | PR014_DirectionalOvercurrentLowStage
T749 | PR014_EarthSwitchClosePosition | modbus | MB1 | 4x | 275.01 | 1 | Bool |  | PR014_EarthSwitchClosePosition
T750 | PR014_EarthSwitchOpenPosition | modbus | MB1 | 4x | 275.02 | 1 | Bool |  | PR014_EarthSwitchOpenPosition
T751 | PR014_InstantaneousOvercurrent | modbus | MB1 | 4x | 228 | 1 | Bool |  | PR014_InstantaneousOvercurrent
T752 | PR014_LockoutRelayStatus | modbus | MB1 | 4x | 270 | 1 | Bool |  | PR014_LockoutRelayStatus
T753 | PR014_NegativeSequenceOvercurrentProtection | modbus | MB1 | 4x | 229.02 | 1 | Bool |  | PR014_NegativeSequenceOvercurrentProtection
T754 | PR014_ProtectionRelayStatus | modbus | MB1 | 4x | 278.02 | 1 | Bool |  | PR014_ProtectionRelayStatus
T755 | PR014_RemoteLocalControlStatus | modbus | MB1 | 4x | 229 | 1 | Bool |  | PR014_RemoteLocalControlStatus
T756 | PR014_RemoteLocalControlStatusR129_02 | modbus | MB1 | 4x | 520 | 1 | Bool |  | PR014_RemoteLocalControlStatusR129_02
T757 | PR014_SpringChargedDischargedAlarm | modbus | MB1 | 4x | 521 | 1 | Bool |  | PR014_SpringChargedDischargedAlarm
T758 | PR014_TestServicePositionStatus | modbus | MB1 | 4x | 522 | 1 | Bool |  | PR014_TestServicePositionStatus
T759 | PR014_TimeOvercurrent | modbus | MB1 | 4x | 523 | 1 | Bool |  | PR014_TimeOvercurrent
T760 | WS001_Instantaneous Irradiance / GHI | modbus | MB1 | 4x | 524 | 1 | int |  | WS001_AmbientHumidity | 331
T761 | WS001_Daily Irradiation | modbus | MB2 | 3x | 55 | 1 | int |  | WS001_AmbientTemperature | 332
T762 | WS001_Ambient Temperature | modbus | MB2 | 3x | 1 | 1 | int |  | WS001_DewPointTemperature | 333 |  |  |  |  | (x*0.1)
T763 | WS001_Module Temperature | modbus | MB2 | 3x | 7 | 1 | int |  | WS001_CumulativeValueTotalRadiation1 | 334 |  |  |  |  | (x*0.01)
T764 | WS001_Wind Speed | modbus | MB2 | 3x | 23 | 1 | int |  | WS001_InstantaneousWindDirection | 335 |  |  |  |  | (x*0.1)
T765 | WS001_Wind Direction | modbus | MB2 | 3x | 22 | 1 | int |  | WS001_InstantaneousWindSpeed | 336
T766 | WS001_Total Irradiation | modbus | MB2 | 3x | 15 | 1 | int |  | WS001_WindSpeed2Minutes | 337
T767 | WS001_Total Direct Irradiation | modbus | MB2 | 3x | 17 | 1 | int |  | WS001_InstantaneousValueTotalRadiation1 | 338
T768 | WS001_Daily Direct Irradiation | modbus | MB2 | 3x | 39 | 1 | int |  | WS001_Temperature1 | 339 |  |  |  |  | (x*0.001)
T769 | WS001_Total Diffuse Irradiation | modbus | MB2 | 3x | 5 | 1 | int |  | WS001_CumulativeValueDirectRadiation | 340
T770 | WS001_Daily Diffuse Irradiation | modbus | MB2 | 3x | 6 | 1 | int |  | WS001_CumulativeValuePhotosynthetic | 341
T771 | WS001_Daily Net Radiation | modbus | MB2 | 3x | 60 | 1 | int |  | WS001_CumulativeValueScatteredRadiation | 342
T772 | WS001_Relative Humidity | modbus | MB2 | 3x | 8 | 1 | int |  | WS001_CumulativeValueSunshineDuration | 343
T773 | WS001_Dew Point Temperature | modbus | MB2 | 3x | 9 | 1 | int |  | WS001_DailyCumulativeValueDirectRadiation | 344
T774 | WS001_2-Min Average Wind Speed | modbus | MB2 | 3x | 10 | 1 | int |  | WS001_DailyCumulativeValueNetRadiation | 345
T775 | WS001_Daily Sunshine Duration | modbus | MB2 | 3x | 11 | 1 | int |  | WS001_DailyCumulativeValuePhotosyntheticRadiation | 346
T776 | WS001_Total Sunshine Duration | modbus | MB2 | 3x | 12 | 1 | int |  | WS001_DailyCumulativeValueScatteredRadiation | 347
T777 | WS001_Total Photosynthetic Radiation | modbus | MB2 | 3x | 13 | 1 | int |  | WS001_DailyCumulativeValueTotalRadiation1 | 348
T778 | WS001_Daily Photosynthetic Radiation | modbus | MB2 | 3x | 14 | 1 | int |  | WS001_DailySunshineDuration | 349